## GHS Kassu-Civil
UNHCR PAKISTAN
CONSTRUCTION OF GHS KASSU DROSH, DISTRICT CHITRAL
BILL OF QUANITITES (BOQ)
CIVIL WORKS
ITEM NO. | KPK MRS-2021 REF. NO. / NS | DESCRIPTION | UNIT |  | QTY | UNIT RATE (Rs.) | TOTAL AMOUNT (Rs.)
(a) | (b) | (c) | (d) |  | (e) | (f) | (g)
SCHEDULED ITEMS
A |  | CIVIL WORK SCHOOL BUILDING 4(2+2) CLASS ROOMS
EARTHWORK (EXCAVATION AND EMBANKMENT)
1 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 970
2 | 03-18-d | Filling, watering and ramming earth under floor with earth excavated from outside lead upto 30m | 1000 | Cft | 1350
3 | 03-19-a | Extra for every 15 m extra lead or part thereof for earthwork soft, ordinary, hard & very hard (for 16 No. of trip) (apply 137.57 x No. of Trip) | 1000 | Cft | 610
4 | 03-20-a | Transportation of earth all types beyond 250 m and upto 500 m. | 1000 | Cft | 745
5 | 03-25-b | Excavation in foundation of building, bridges etc complete: in ordinary soil. | 1000 | Cft | 2410
CONCRETE
6 | 06-02 | Dry rammed shingle brick ballast or stone ballast 1.5" to 2" gauge | 100 | Cft. | 505
7 | 06-05-h | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:3:6) | 100 | Cft. | 130
8 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100 | Cft. | 725
9 | 06-07-a-02 | RCC in roof slab, beam, column & other structural members, insitu or precast. (1:1.5:3) | 100 | Cft. | 1890
10 | 06-07-a-02 + 06-07-e | RCC in roof slab, beam, column & other structural members, insitu or precast. (1:1.5:3) in 2nd storey. | 100 | Cft. | 770
11 | 06-07-b-02 | RCC in raft foundation slab, base slab of column & ret.wall etc, not including in 06-06 (1:1.5:3) | 100 | Cft. | 745
12 | 06-08-b | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 60) | 100 | Kg | 10010
13 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | Kg | 5160 |  |  | 260000 | 0
14 | 06-23 | Fill expansion joints with bitumen, sand & saw dust in Ratio 1:2:2 | 1 | Rft | 115
15 | 6-46-a | Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape -Position / Horizontal | 100 | Sft. | 1575
16 | 6-46-b | Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape - Position / Vertical | 100 | Sft. | 6115
BLOCK MASONRY
17 | 07-44-c | Solid Block Masonry in walls upto 20 feet height in 1:4 cement sand mortar using 16"x8"x6"factory manufactured solid blocks with strength of 1900 psi. | 100 | Cft. | 775
18 | 07-44-c + 07-06-a | Solid Block Masonry in 1:4 cement sand mortar using 16"x8"x6"factory manufactured solid blocks with strength of 1900 psi.1st Floor | 100 | Cft. | 765
ROOFING
19 | 09-14-b | Supply & fix corrugated GI sheet with GI bolts, nuts, limpet etc. complete : 22 BWG | 100 | Sft. | 1810
20 | 09-25-a | Flat sheet roof with GI plain sheets, including batten rolls, screws, clips etc : 22 BWG | 100 | Sft. | 810
21 | 09-29-c | Plain GI sheet ridging including fixture complete 12" lap & 30 overall, of 22 gauge GI sheet ridging | 1 | Rft. | 115
FLOORING
22 | 10-14-b | Cement concrete tiles laid in 1:2 c/s mortar over 3/4" thick bed of c/s mortar 1:2: 12" x 12" x 1" | 100 | Sft. | 340
23 | 10-26-c-iii | Provide & lay marble fine dressed stone flooring on surface in white cement complete: 3/4" thick 12 x 12 Sunny Grey Marble. Ground Floor | 100 | Sft. | 1325
24 | 10-26-c-iii + 10-18 | Provide & lay marble fine dressed stone flooring on surface in white cement complete: 3/4" thick 12 x 12 Sunny Grey Marble. 1st Floor | 100 | Sft. | 1155
25 | 10-26-e | Providing and Laying marble fine dressed stone 4-5 feet and 12" wide 1" thick for stairs steps | 100 | Sft. | 255
26 | 10-44 | Providing and laying 1/2" thick marble in dado / skirting with matching colour mortar in joints set over 1/2" thick rough cast 1:4 cement sand plaster.Ground Floor | 100 | Sft. | 200
27 | 10-44 + 10-18 | Providing and laying 1/2" thick marble in dado / skirting with matching colour mortar in joints set over 1/2" thick rough cast 1:4 cement sand plaster.1st Floor | 100 | Sft. | 80
28 | 10-64 | Chemical polishing of marble floor/Dado | 100 | Sft. | 2755
SURFACE RENDERING
29 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft. | 6975
30 | 11-09-b + 11-26 | Cement plaster 1:4 from 20' to 30' height 1/2" thick | 100 | Sft. | 1710
31 | 11-10-c | Cement plaster 3/8" thick under soffit of RCC roof slabs only upto 20' height : (1:4) | 100 | Sft. | 1330
PAINTING AND VARNISHING
32 | 11-20-a | Priming coat of chalk under distemper | 100 | Sft. | 1330
33 | 11-20-b | Providing and applying wall putty of 2mm thickness over plastered surface to prepare the surface even and smooth complete. | 100 | Sft. | 1330
34 | 11-21-a-03 | Distempering New surface : Three coats | 100 | Sft. | 1330
35 | 13-03-d-01 | Prepare & Paint new surfaces of guard bars, railing,trusses& similar open work : Priming coat | 100 | Sft. | 1735
36 | 13-03-d-02 | Prepare & Paint new surfaces of guard bars, railing,trusses & similar work : Each subsequent coat | 100 | Sft. | 3470
37 | 13-08-a | Bitumen coating to plastered / cement concrete surface : 20 Ibs. per 100 sft. | 100 | Sft. | 3370
38 | 13-22-a | Preparing surface and painting with emulsion paint : upto 20' height First coat. | 100 | Sft. | 4165
39 | 13-22-b | Preparing surface and painting with emulsion paint : upto 20' height 2nd & each subsequent coat. (two coats) | 100 | Sft. | 8330
40 | 13-22-a + 13-24 | Preparing surface and painting with emulsion paint, from 20' to 30' height: First coat. | 100 | Sft. | 810
41 | 13-22-b +13-24 | Preparing surface and painting with emulsion paint, from 20' to 30' height: 2nd & each subsequent coat. (two coats) | 100 | Sft. | 1620
42 | 13-25-a | Preparing surface & painting with snowcem / weather shield paint: upto 20' height First coat | 100 | Sft. | 2815
43 | 13-25-b | Preparing surface & painting with snowcem / weather shield paint: upto 20' height 2nd & subsequent coats. | 100 | Sft. | 5630
44 | 13-25-a +13-24 | Preparing surface & painting with snowcem / weather shield paint 20' to 30': First coat | 100 | Sft. | 900
45 | 13-25-b +13-24 | Preparing surface & painting with snowcem / weather shield paint 20' to30': 2nd & subsequent coats. | 100 | Sft. | 1800
PLUMBING WORKS
46 | 14-160-b | Electric water coolers of 40 gallons capacity,including inlet and outlet connections, gate valve on inlet, electric connection upto power socket,and all other accessories for complete installation. | 1 | Each | 1
47 | 14-161 | Triple water filter (10") including inlet and outlet connections, power supply, and all accessories for complete installation. | 1 | Each | 1
48 | 14-172-a | Supplying and fixing of Dry Chemical Powder Fire Extinguisher 6Kg Capacity complete in all respect | 1 | Each | 4
49 | 15-02-a-08 | Supply and Fixing PVC pipe for draining rain water (from roof) complete On surface including clamps etc: 4" i/d | 1 | Rft | 15
IRON WORK
50 | 12-61 | MS flat 1/2"x1/8" grill in windows of approved design | 1 | Sft | 494
51 | 12-47 | Supply and Fixing accoustic mineral fibre tile ceiling fixed with aluminium tee hung by GI wire fixed in roof | 100 | Sft | 1255
52 | 12-70-a | Supply and Fixing MS Sheet 16 guage(10'' x 2'') box type chowkats including fixing in position with all charges for Hold fast, Hinges and Painting etc | 1 | Rft | 138
53 | 25-10 | Fabrication of heavy steel work with angle, tees, sheet iron etc for making trusses, girders etc | 1 | Tonne | 5.25
54 | 25-39-b-05 | Providing and Fixing steel windows 18 gauge with openable glazed panels With 22 SWG wire gauze :Glass pane 5mm | 1 | Sft | 494
55 | 25-44 | Supplying and Fixing 18SWG Steel Almirah, 12" max depth including box shelves, back, shelves, lock, spray paint complete | 1 | Sft | 128
56 | 25-45-a | Supplying and Fixing 18 SWG MS Sheet Door with angle iron frame (1.5"x1.5"x1/8"), bolt, hinges, paint etc complete | 1 | Sft | 228
57 | 25-47 | Supply and fixing of fancy type stainless steel chromium plate 2" dia pipes stair railing 3/4" dia pipe fixed on specified space on steps in horizontal positions, complete in all respects | 1 | Rft | 30
MISCELLANEOUS
58 | 28-15 | Pre anti Termite Treatment in the building mixed with water of mixing ratio as per the manufacturer's certified manual | 100 | Sft | 3670
59 | 28-18 | Providing and fixing with steel nails and washers,the chicken wire mesh of approved quality, at joint of concrete and masonry work (4" wide strip)before plastering etc complete. | 1 | Sft | 500
B |  | CIVIL WORKS TOILET BLOCK (2 No. Toilets)
EARTHWORK (EXCAVATION AND EMBANKMENT)
60 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 120
61 | 03-25-b | Excavation in foundation of building, bridges etc complete: in ordinary soil. | 1000 | Cft | 320
CONCRETE
62 | 06-02 | Dry rammed shingle brick ballast or stone ballast 1.5" to 2" gauge | 100 | Cft. | 25
63 | 06-05-h | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:3:6) | 100 | Cft. | 35
64 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100 | Cft. | 70
65 | 06-07-a-02 | RCC in roof slab, beam, column & other structural members, insitu or precast. (1:1.5:3) | 100 | Cft. | 145
66 | 06-07-b-02 | RCC in raft foundation slab, base slab of column & ret.wall etc, not including in 06-06 (1:1.5:3) | 100 | Cft. | 96
67 | 06-08-b | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 60) | 100 | Kg | 810
68 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | Kg | 280 |  |  | 260000 | 0
69 | 06-23 | Fill expansion joints with bitumen, sand & saw dust in Ratio 1:2:2 | 1 | Rft | 20
70 | 6-46-a | Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape -Position / Horizontal | 100 | Sft. | 25
71 | 6-46-b | Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape - Position / Vertical | 100 | Sft. | 560
BLOCK MASONRY
72 | 07-44-c | Solid Block Masonry in walls upto 20 feet height in 1:4 cement sand mortar using 16"x8"x6"factory manufactured solid blocks with strength of 1900 psi. | 100 | Cft. | 180
ROOFING
73 | 09-14-b | Supply & fix corrugated GI sheet with GI bolts, nuts, limpet etc. complete : 22 BWG | 100 | Sft. | 125
74 | 09-25-a | Flat sheet roof with GI plain sheets, including batten rolls, screws, clips etc : 22 BWG | 100 | Sft. | 55
75 | 09-24-c | Laying 1/2" thick partal wood ceiling complete, including sawing, planing & fixing | 100 | Sft | 40
76 | 09-29-c | Plain GI sheet ridging including fixture complete 12" lap & 30 overall, of 22 gauge GI sheet ridging | 1 | Rft. | 9
FLOORING
77 | 07-30' | Supplying and filling sand under floor or plugging in wells | 100 | Cft. | 15
78 | 10-14-b | Cement concrete tiles laid in 1:2 c/s mortar over 3/4" thick bed of c/s mortar 1:2: 12" x 12" x 1" | 100 | Sft. | 40
79 | 10-39-a | Glazed tile 1/4" thick dado jointed in white cement complete : Ceramic Tile - 6"x6" white | 100 | Sft | 155
80 | 10-50-a | Providing and Fixing Ceramic Floor Tiles of approved quality of Size : 12" x 12" | 100 | Sft | 40
SURFACE RENDERING
81 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft. | 500
PAINTING AND VARNISHING
82 | 13-03-d-01 | Prepare & Paint new surfaces of guard bars, railing,trusses& similar open work : Priming coat | 100 | Sft. | 140
83 | 13-03-d-02 | Prepare & Paint new surfaces of guard bars, railing,trusses & similar work : Each subsequent coat | 100 | Sft. | 280
84 | 13-08-a | Bitumen coating to plastered / cement concrete surface : 20 Ibs. per 100 sft. | 100 | Sft. | 500
85 | 13-22-a | Preparing surface and painting with emulsion paint : upto 20' height First coat. | 100 | Sft. | 130
86 | 13-22-b | Preparing surface and painting with emulsion paint : upto 20' height 2nd & each subsequent coat. (two coats) | 100 | Sft. | 260
87 | 13-25-a | Preparing surface & painting with snowcem / weather shield paint: upto 20' height First coat | 100 | Sft. | 365
88 | 13-25-b | Preparing surface & painting with snowcem / weather shield paint: upto 20' height 2nd & subsequent coats. | 100 | Sft. | 730
IRON WORK
89 | 12-70-a | Supply and Fixing MS Sheet 16 guage(10'' x 2'') box type chowkats including fixing in position with all charges for Hold fast, Hinges and Painting etc | 1 | Rft | 34
90 | 25-10 | Fabrication of heavy steel work with angle, tees, sheet iron etc for making trusses, girders etc | 1 | Tonne | 0.3
91 | 25-39-a-05 | Providing and fixing steel windows/Ventilator with openable glazed pannels, using beam section for frame 1-1/2" x 1" x 5/8" x 1/8", z-section for leaves 3/4" x 1" x 3/4" x 1/8", T- section sashes 1"x1"x1/8", glass panes, wooden screed for glazing embded over a thin layer of putty duly screwed with leaves, brass fittings holdfast, duly painted, complete in all respects, including all cost of material and labour etc. as per approved design and as directed by the engineer - in -charge Glass pane 5mm thick | 1 | Sft | 8
92 | 25-45-a | Supplying and Fixing 18 SWG MS Sheet Door with angle iron frame (1.5"x1.5"x1/8"), bolt, hinges, paint etc complete | 1 | Sft | 39
MISCELLANEOUS
93 | 28-15 | Pre anti Termite Treatment in the building mixed with water of mixing ratio as per the manufacturer's certified manual | 100 | Sft | 410
94 | 28-18 | Providing and fixing with steel nails and washers,the chicken wire mesh of approved quality, at joint of concrete and masonry work (4" wide strip)before plastering etc complete. | 1 | Sft | 50
C |  | CIVIL WORKS- EXTERNAL SEWERAGE (SOAKAGE WELL, SEPTIC TANK)
EARTHWORK (EXCAVATION AND EMBANKMENT)
95 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 150
96 | 03-49-a | Excavation in open cut for sewers & manhole except shingle, gravel & rock : Upto 2m | 1000 | Cft | 665
CONCRETE
97 | 06-05-i | Plain Cement Concrete inluding placing, compacting, finishing and curing ( Ratio 1:4:8) | 100 | Cft | 25
98 | 06-07-a-03 | RCC in roof slab, beam, column & other structural members, insitu or precast. (1:2:4) | 100 | Cft | 280
99 | 06-07-b-03 | RCC in raft foundation slab, base slab of column & ret. wall etc, not including in 06-06. (1:2:4) | 100 | Cft | 70
100 | 06-08-b | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 60) | 100 | Kg | 720
101 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | Kg | 420
102 | 6-46-a | Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape -Position / Horizontal | 100 | Sft. | 80
103 | 6-46-b | Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape - Position / Vertical | 100 | Sft. | 635
BRICK MASONRY
104 | 07-04-a-04 | 1st class brick work in foundation and plinth in Cement, sand mortar 1:5 | 100 | Cft. | 50
105 | 07-10 | Extra for 1st class brick work in steining of wells or any other circular masonry. | 100 | Cft. | 50
SURFACE RENDERING
106 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft. | 150
107 | 13-08-a | Bitumen coating to plastered / cement concrete surface : 20 Ibs. per 100 sft. | 100 | Sft. | 600
PLUMBING
108 | 14-37-c | Supply and Fixing cast iron (CI) manhole cover with frame etc (Heavey Type) of approved quality complete: 24" (610 mm) dia | 1 | Each | 3
109 | 14-155 | Galvanised MS ladder rings 3/4" dia inside and outside water tanks; Each rung of 12" width, 6" projected outside the wall and 6" embeded in RCC on both ends; including all necessary works for complete installation. | 1 | kg | 35
PROTECTION & DIVERSION
110 | 19-15-c | Supply & dump at site, without boat, including handling within 100m : Brick bats | 100 | Cft | 85
SINKING OF WELLS
111 | 21-01-a-01 | Excavate well in dry & dispose of soil within 50m in ordinary soil or sand : 0' (0 m) Upto 5' (1.5 m) depth | 100 | Cft | 270
112 | 21-01-a-02 | Excavate well in dry & dispose of soil within 50m in ordinary soil or sand :From 5.1' to 10' (1.530 m to 3.000 m) depth | 100 | Cft | 270
113 | 21-01-a-03 | Excavate well in dry & dispose of soil within 50m in ordinary soil or sand :From 10.1' to 15' (3.030 m to 4.500 m) depth | 100 | Cft | 270
114 | 21-01-a-04 | Excavate well in dry & dispose of soil within 50m in ordinary soil or sand : From 15.1' to 20' (4.530m to 6.000 m) depth | 100 | Cft | 270
D |  | HAND WASH FACILITY
115 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 20
116 | 03-25-b | Excavation in foundation of building, bridges etc complete : in ordinary soil. | 1000 | Cft | 90
117 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100 | Cft | 29
118 | 06-07-b-03 | RCC in raft foundation slab, base slab of column & ret. wall etc, not including in 06-06. (1:2:4) | 100 | Cft | 14
119 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | kg | 26
120 | 07-44-c | Solid Block Masonry in walls upto 20 feet height in 1:4 cement sand mortar using 6"x8"x6"factory manufactured solid blocks with strength of 1900 psi. | 100 | Cft | 150
121 | 10-39-a | Glazed tile 1/4" thick dado jointed in white cement complete : Ceramic Tile - 6"x6" white | 100 | Sft | 50
122 | 10-50-a | Providing and Fixing Ceramic Floor Tiles of approved quality of Size : 12" x 12" | 100 | Sft | 80
123 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft | 150
Plumbing and Water Supply Works
124 | 14-13 | Providing and fixing choricum plated soap dish complete. | 1 | Each | 5
125 | 14-24-b | Providing and fixing chromium plated (CP) bib-cock heavy duty of approved quality : 1.5 cm 1/2" | 1 | Each | 5
126 | 14-28-f | Providing and fixing gun metal peet / gate valve (screwed) 20 mm (3/4") dia of approved quality. | 1 | Each | 1
127 | 14-55-e | Providing and Fixing GI pipe & including specials complete: 3/4" dia (light) | 1 | Rft | 30
128 | 14-55-f | Providing and Fixing GI pipe & including specials complete: 1/2" dia (light) | 1 | Rft | 17
129 | 14-69-a-02 | Providing and fixing Fibre Glass , corrosion resistant, UV stablized WaterTank : 400 gallons | 1 | Each | 1
130 | 25-58-b | Providing and fixing of parking shed consisting ofCGI Sheet, tubular pipe frame (heavy) quality andcircular columns excluding cost of foundation. | 1 | Sft | 75
E |  | RENOVATION TOILETS TILE, OPEN COURT YARD AREA & BOUNDARY WALL WORK
131 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 450
132 | 03-25-b | Excavation in foundation of building, bridges etc complete : in ordinary soil. | 1000 | Cft | 1525
133 | 06-05-h | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:3:6) | 100 | Cft | 25
134 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100 | Cft. | 1400
135 | 06-26-a-02 | Damp proof course of cem. conc. 1:2:4 including bitumen coat, 1 layer polythene & 1 coat bitumen (2" thick) | 100 | Sft | 10
136 | 07-44-c | Solid Block Masonry in walls upto 20 feet height in 1:4 cement sand mortar using 6"x8"x6"factory manufactured solid blocks with strength of 1900 psi. | 100 | Cft | 100
137 | 10-14-b | Cement concrete tiles laid in 1:2 c/s mortar over 3/4" thick bed of c/s mortar 1:2: 12" x 12" x 1" | 100 | Sft. | 4200
138 | 10-39-a | Glazed tile 1/4" thick dado jointed in white cement complete : Ceramic Tile - 6"x6" white | 100 | Sft | 375
139 | 10-50-a | Providing and Fixing Ceramic Floor Tiles of approved quality of Size : 12" x 12" | 100 | Sft | 120
140 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft | 540
141 | 11-23-a-01 | White washing: New surface : One coat | 100 | Sft | 540
142 | 11-23-a-02 | White washing: New surface : Two coat | 100 | Sft | 540
143 | 25-60-a | Supply and fixing razor wire (2'-0" dia) consisting of 1-1/2"X1-1/2"X3/16" angle iron Y post 2'-6" long 6' to 8' center to center embedded in concrete block of size 3"X9"X6" (PCC 1:2:4), at top of boundary wall including painting posts etc. Complete in all respects. | 1 | Rft | 50
F |  | SOLAR WATER PUMP
144 | 24-18-d-02 | Providing, laying, cutting, jointing, testing and disinfecting UPVC pressure pipeline in trenches (conforming to BS 3505 manufactured ) jointed with socket, elbow, tee, bend and plug bend etc.manufactured by the respective anufacturer complete as per specifications uPVC Pressure Pipes Class E (15 Bar) except excavation. 1" Nominal Pipe Size (NPS) | 1 | Rft | 130
145 | 26-01-d-01 | Supply and Erection of Solar PV Module (Solar Panel) Mono-crystalline A-Grade (per Watt) (As per Approved Specifications) | 1 | Watt | 2400
146 | 26-01-m-01 | Supply and Erection of hot dipped (80 microns Average) galvanized steel of minimum thickness of 12 SWG / 2.64 mm Channel / Pipe or 8 SWG / 4.06 mm Angle | 1 | Watt | 2400
147 | 26-01-g-03 | Supply and Erection 1x6 sq.mm single core (XPLE/XPLO insulated/PCV sheathed) flexible copper cable | 1 | Rft | 75
148 | 26-01-n-02 | Supply and Erection of 1x1 ft 4mm Copper arthing Plate | 1 | Watt | 2400
149 | 26-01-n-03 | Supply and Erection of Stainless Steel Nuts and Bolts | 1 | Watt | 2400
150 | 26-01-h-01 | Supply and Erection MC4 connector (TUV pproved) | 1 | Pair | 8
151 | 26-01-h-02 | Supply and Erection MC4 Branch connector | 1 | Pair | 8
152 | 26-01-k-02 | Supply installation and commissioning of DC bmersible (2HP (2000w), 50 meter head) | 1 | No | 1
Base for Solar water Pump
153 | 06-05-f | Plain Cement Concrete including placing,compacting, finishing & curing (Ratio 1:2:4) | 100 | Cft | 2
Cost of Scheduled Items (Rs.)
Add 15% above on Scheduled Item for District Chitral (Rs.)
Total Cost of Scheduled Items (Rs.)
NON-SCHEDULED ITEMS
GENERAL NOTE
Supply, installation, testing and commissioning of the following items of work, including all labour, tools, plant, accessories, etc. required for completion of each item as per specifications and as approved by the Engineer.
G |  | SCHOOL BUILDING
SURFACE RENDERING
154 | NS-01 | Making of White Board (8'x4') | 1 | No | 4
H |  | SOAKAGE WELL
BRICK MASONRY
155 | NS-02 | Pacca Dry brick work in soakage well | 1 | Cft. | 315
Cost of Non-Scheduled Items (Rs.)
Total Cost of Scheduled Items & Non-Scheduled Items (Rs.)

## Electrical
UNHCR PAKISTAN
CONSTRUCTION OF GHS KESU DROSH, DISTRICT CHITRAL
BILL OF QUANITITES (BOQ)
ELECTRICAL WORKS
ITEM No. | KPK MRS-2021 REF. No. / NS | DESCRIPTION | UNIT | QTY | UNIT RATE (Rs.) | TOTAL AMOUNT (Rs.)
(a) | (b) | (c) | (d) | (e) | (f) | (g)
SCHEDULED ITEMS
A |  | SCHOOL BUILDING
FANS & EXHAUST FANS
E-01 | 15-68-c | Supply and Erection best quality AC ceiling fan complete with GI rod, canopy, blades & regulator: 56" sweep. | Each | 16
E-02 | 15-78 | Supply and Fixing of 18" dia Direct axial Wall Bracket fan,1450Rpm, Max 50db sound level Fan shall be made with 99% purity Copper windings | Each | 4
E-03 | 15-25 | Supply and Erection girder clamp hook, 5/8" dia.for hanging ceiling fans. | Each | 16
NOTE:The contractor/supplier shall ensure that the supplied fans are wound with pure 99.9% pure enamelled copper winding.The core of the fans shall be made from grain oriented electrical steel sheet.The exhaust fans shall follow the same standards described above. Moreover all fans should be NEECA approved.The fans shall be installed at the bottom level of structural beams. The contractor is required to get the approval from the site staff.
LT CABLES
E-04 | 15-06-e | Supply and Erection single core PVC insulated+sheathed copper conductor 250/440 V grade cable : 7/0.044" for DB lights | RM | 120
CONDUITS & PIPES
E-05 | 15-02-b-06 | Supply and Erection PVC pipe for wiring purpose complete Recessed in walls including chase etc : 2" i/d | Rft. | 250
E-06 | 15-02-b-03 | Supply and Erection PVC pipe for wiring purpose complete Recessed in walls including chase etc : 1" i/d | Rft. | 1400
E-07 | 15-02-b-02 | Supply and Erection PVC pipe for wiring purpose complete Recessed in walls including chase etc : 3/4" i/d | Rft. | 2800
E-08 | 15-79-b | PVC conduit for surface wiring (duraduct) 1" including all charges for nail screws etc | Rft. | 200
E-09 | 15-79-c | PVC conduit for surface wiring (duraduct) 1.5" including all charges for nail screws etc | Rft. | 200
WIRING ACCESSORIES
E-10 | 15-127-b | Supply at site, installation, testing and commissioning of Two gang light control switches 10 Amps, 250Volts one way, including appropriate size concealed MS, powder coated back box, complete in all respects. | No. | 3
E-11 | 15-127-d | Supply at site, installation, testing and commissioning of Four gang light control switches 10 Amps, 250 Volts one way, including appropriate size concealed MS, powder coated back box, complete in all respects. | No. | 6
E-12 | 15-156 | Supply, Installation, Connecting, testing and commissioning of 400 watt Fan dimmer, polycarbonate flame retardant with fancy gang plate fixed on die fabricated poweder coated metal board recessed in wall or column , Complete in all respects | No. | 16
E-13 | 15-155-c | Supply, installation, connecting, testing & commissioning of flush type 13 Amps 3-pin simplex outlet with 3 pin switch and socket combine unit with neon bulb fixed on plastic or fiber top covered, including 14 SWG metal board with earth | No. | 30
E-14 | 15-127-j | Supply at site, installation, testing and commissioning of 3 pin switched socket unit 13/15 Amps, 250Volts, round pin including appropriate size MS, powder coated back box, complete in allrespects. | Each | 2
WIRING IN CONCEALED CONDUITS
E-15 | 15-06-a | Supply and Erection single core PVC insulated+sheathed copper conductor 250/440 V grade cable : 3/0.029"(1.5mm2). | Rft | 4000
E-16 | 15-06-c | Supply and Erection single core PVC insulated+sheathed copper conductor 250/440 V grade cable : 7/0.029"(2.5mm2) . | Rft | 800
NOTE: The wiring shall be done as following.
| a | Wiring of light circuit from Distribution Board to switch, including circuit wiring between switches on the same circuit with Two nos. single core 2.5 Sqmm and One no.1.5 sq mm PVC insulated 300/500 Volts grade stranded copper conductor cables in concealed 1 " PVC conduits including PVC conduit, conduit accessories (junction box, pull box, metal fan box etc) complete in all respects.
| b | Wiring from switch to light or fan point (1 way / 2 way) with 3 Nos. single core 1.5 Sqmm PVC insulated 300/500 Volts grade stranded copper conductor cables in concealed 1" PVC conduit including PVC conduit, conduit accessories (junction box, pull box, metal fan box etc) complete in all respects.
| c | Wiring from light to light with 3 Nos. single core 1.5 Sqmm PVC insulated 300/500 Volts grade stranded copper conductor cables in concealed 3/4" PVC conduit including PVC conduit, conduit accessories (junction box, pull box, metal fan box etc) complete in all respects.
| d | Wiring of circuit from Distribution Board to 13A , 230 Volts, 3 pin switched socket outlet with Two nos. single core 4 sqmm and One no. 2.5 sqmm PVC insulated 300/500 Volts grade stranded copper conductor cables in 1" dia concealed PVC conduit laid underfloor including PVC conduit, conduit accessories, etc. complete in all respects.
| e | Wiring from 13 Amps, 3 pin socket to socket with Two nos. single core 2.5 Sqmm and One no. 1.5 sq mm PVC insulated 300/500 Volts grade stranded copper conductor cables in concealed 1" PVC conduit laid underfloor including PVC conduit, conduit accessories, etc.complete in all respects.
| f | Wiring of circuit from distribution board to 15A, 230 Volts, 3 Pin switched socket outlet with 2 Nos. one core 4 Sqmm and One no. 2.5 sq mm PVC insulated 300/500 Volts grade copper conductor cables in concealed 1" PVC conduit laid underfloor including PVC conduit, conduit accessories, etc. complete in all respects.
| g | Wiring from 15 Amps, 3 pin socket to socket with Two nos. single core 2.5 Sqmm and One no. 1.5 sq mm PVC insulated 300/500 Volts grade stranded copper conductor cables in concealed 1" PVC conduit laid underfloor including PVC conduit, conduit accessories, etc.complete in all respects.
NOTE: PVC pipes & all its accessories shall not catch/support fire. 1.5mm2 (3/0.029) & 2.5mm2 (7/0.029) single core cables are stranded having 3 strands & 7 strands respectively.
LIGHTNING PROTECTION SYSTEM
E-17 | 15-43-a | Supply and erection of copper tape, including copper staple, copper nails/Screw etc.: Size (1.5"x1/8") | Rft. | 150
E-18 | 15-42-e | Supply, Installation, Testing and Commissioning of Air terminal or arrester | Each | 1
LIGHT FIXTURES
E-19 | 15-36-k-01 | Supply, installation, connecting, testing and commissioning of Surface mounting LED tube light with 2x2000 lumens, complete in all respects | No. | 16
E-20 | 15-36-i-7 | Supply, installation, testing and commissioning of 1x23 Watt, E-27 base, wall bracket light, complete in all respects. | Each | 22
EARTHING SYSTEM
E-21 | 15-105-f | Supply and Erection of Grounding connecting points | Each | 1
B |  | TOILET BLOCK
CONDUITS & PIPES
E-22 | 15-02-b-02 | Supply and Erection PVC pipe for wiring purpose complete Recessed in walls including chase etc : 3/4" i/d | Rft. | 75
E-23 | 15-02-b-03 | Supply and Erection PVC pipe for wiring purpose complete Recessed in walls including chase etc : 1" i/d | Rft. | 200
WIRING ACCESSORIES
E-24 | 15-127-d | Supply at site, installation, testing and commissioning of Four gang light control switches 10 Amps, 250 Volts one way, including appropriate size concealed MS, powder coated back box, complete in all respects. | No. | 1
WIRING IN CONCEALED CONDUITS
E-25 | 15-06-a | Supply and Erection single core PVC insulated+sheathed copper conductor 250/440 V grade cable : 3/0.029"(1.5mm2). | Rft | 100
E-26 | 15-06-c | Supply and Erection single core PVC insulated+sheathed copper conductor 250/440 V grade cable : 7/0.029"(2.5mm2) . | Rft | 400
LIGHT FIXTURES
E-27 | 15-36-i-7 | Supply, installation, testing and commissioning of 1x23 Watt, E-27 base, wall bracket light, complete in all respects. | Each | 3
Cost of Scheduled Items (Rs.)
Add Area factor on KP MRS-2021 for Distict Chitral @ 15% (Rs.)
Total Cost of Scheduled Items (Rs.)
NON-SCHEDULED ITEMS
Supply, installation, testing and commissioning of the following items of work, including all labour, tools, plant, accessories, etc. required for completion of each item as per specifications and as approved by the Engineer.
LT DISTRIBUTION BOARD
(Ref. Specification Section-8001, 8133)
LT 415V AC Main DB/Sub-Main DBs shall be made from 14 SWG sheet steel, while all other DBs must be of 16SWG. This shall be designed, fabricated and manufactured as a free standing floor type. The sheet metal work shall be cleaned down to bare shining metal degreased, derusted and painted with TWO base coats of antirust RED paint. The sheet metal work shall be finished in TWO coats of powder paint. The color and shade shall be as approved by the Engineer. The distribution Board shall be complete with all internal wirings, tags, identification labels, TPN and E copper busbars, accessories etc. The DB should be provided with the armored glands. The bus-bars shall be insulated in RED, YELLOW, BLUE and BLACK insulations. The insulation shall be heat shrinkable type or as directed by the Engineer.
E-28 | NS-01 | DB-SCHOOL
INCOMING (MAIN Supply)
1 No. 40 Amps DP MCCB RC=10KA
02 Nos. 2 Amps Protection fuses.
01 No. 0-220 Volts AC Analog Voltmeter
02 Nos. R-Y-B Indication lamps
02 Nos. Cu Bus Bars complete with
Nut & bolts, washers/ insulation.
01 Nos. Earth Bus Bar
OUTGOINGS
|  | 15 Nos. 10 Amps SP MCB RC-6kA. | Job | 1
NOTE: Cable Glands should be of non-magnetic material i.e. Stainless Steel or Aluminum
Cost of Non-Scheduled Items (Rs.)
Total Cost of Scheduled Items & Non-Scheduled Items (Rs.)

## Plumbing
UNHCR PAKISTAN
CONSTRUCTION OF GHS KESU DROSH, DISTRICT CHITRAL
BILL OF QUANITITES (BOQ)
PLUMBING WORKS
ITEM NO. | KPK MRS-2021 REF. NO. / NS | DESCRIPTION | UNIT |  | QTY | UNIT RATE (Rs.) | TOTAL AMOUNT (Rs.)
(a) | (b) | (c) | (d) |  | (e) | (f) | (g)
Plumbing Works 2 Nos Toilets
1 | 06-07-d-05 | Providing manhole size 24" x 18" (inside dimensions) as per approved design and specifications complete for 4" to 12" dia pipes upto 4 ft. (1.2 m) depth with 16" dia.Concrete Cover fixed in 4" thick RCC 1:2:4 slab (with 5 lbs per Cu.ft. or 80 kg/Cu.m of steel), burnt brick masonry walls 9" (225 mm) thick set in 1:3 cement sand mortar, 6" thick 1:3:6 cement concrete in foundation, 4" av. thickness 1:2:4 cement concrete in benching and 1/2" (13mm) thick cement sand plaster in 1:3 to all inside wall surfaces, channels and benching including making requisite number of main and branch channels but excluding the cost of excavation, back filling and disposal of excavated stuff | 1 | Each | 1
2 | 14-01-b | Providing and Fixing glazed earthen ware WC European type of approved make/size excluding cost of seat & cover, complete in all respects: Coloured | 1 | Each | 1
3 | 14-02-b | Providing and Fixing double seat & cover only : Plastic | 1 | Each | 1
4 | 14-03-b | Providing and Fixing glazed earthen ware WC squatting type with built-in foot rests complete in all respects : Coloured | 1 | Each | 1
5 | 14-05-a-06 | Providing and Fixing glazed earthen ware washhand basin (WHB) complete size 56x40 cm(22"x16"), including bracket et, waste coupling,complete in all respects: Colour with pedestal (Normal Quality) | 1 | Each | 1
6 | 14-10-b | Providing and Fixing glazed earthen ware low down flushing cistern 3 gallons (13.63 Liters) capacity including bracket set, copper connection, etc. complete in all respects: Coloured | 1 | Each | 1
7 | 14-13 | Providing and fixing choricum plated soap dish complete. | 1 | Each | 1
8 | 14-35-a | Providing, laying cutting, jointing, testing PPRC pipeline in walls/trenches with pipes (confirming toDIN8077/8078,PN20of approved quality &fittings conforming to DIN 16962,PN25 of the same manufacturer) for cold/hot water supply systems including specials complete in all respectas per specifications: except excavation 3/4" i/d | 1 | Rft | 30
9 | 14-35-g | Providing, laying cutting, jointing, testing PPRCpipeline in walls/trenches with pipes (confirmingto DIN 8077/8078, PN20 of approved quality &fittings conforming to DIN 16962,PN25 of thesame manufacturer) for cold/hot water supplysystems including specials complete in all respectas per specifications:except excavation 1/2" i/d | 1 | Rft | 15
10 | 14-22-b | Providing and fixing chromium plated CP stop-cock, heavy type :1.5 cm (1/2") | 1 | Each | 1
11 | 14-24-b | Providing and fixing chromium plated (CP) bib-cock heavy duty of approved quality : 1.5 cm 1/2" | 1 | Each | 1
12 | 14-27-a | Providing and fixing chorimum plated (CP) mixing valve for wash hand basin (WHB), sink or shower of approved (Best) quality | 1 | Each | 1
13 | 14-28-f | Providing and fixing gun metal peet / gate valve (screwed) 20 mm (3/4") dia of approved quality. | 1 | Each | 1
14 | 14-31-b | Providing and Fixing cast iron (CI) floor trap approved quality including CI grating & concrete chamber all round : 4"x3" (100 mm x 75 mm) | 1 | Each | 2
15 | 14-32-a | Providing and Fixing 'P' trap of approved quality including GI grating & PCC chamber 4" (100 mm) of cast iron (Best Quality) | 1 | Each | 1
16 | 14-33 | Providing and Fixing 4" gully trap of approved quality including cement concrete cost of PVC grating 6" x6" (150 x 150 mm) and masonry chamber 12"x12" (300 x 300 mm). | 1 | Each | 1
17 | 14-37-c | Supply and Fixing cast iron (CI) manhole cover with frame etc (Heavey Type) of approved quality complete: 24" (610 mm) dia | 1 | Each | 1
18 | 14-86 | Providing & fixing chromium plated double bib-cock with Muslim Shower of approved quality Complete is all respects. | 1 | Each | 1
19 | 14-144-a | Supplying and Fixing UPVC soil waste and vent pipe class B : 6" dia | 1 | Rft | 15
20 | 14-144-b | Supplying and Fixing UPVC soil waste and vent pipe class B : 4" dia | 1 | Rft | 20
21 | 14-144-c | Supplying and Fixing UPVC soil waste and vent pipe class B : 3" dia | 1 | Rft | 20
22 | 14-144-d | uPVC Soil, Waste and vent pipes conforming to ISO:3633 type "B" or BS-4514/5255 class "A" ,includingimportedrubbering/solventcementfittings,jointing,cutting,andbreakingconcrete/masonry and then making itgood,applyingpainting, cleaning and testing etc.complete in all respects.(for sanitary drainage) : 2"dia | 1 | Rft | 10
23 | 14-164 | uPVC Multi Floor Trap (110x75mm) including strainer; supports; making required number of connections; breakingconcrete or masonry work & then making it good; etc. | 1 | Each | 1
Cost of Scheduled Items (Rs.)
Add 15% above on Scheduled Item for District Chitral (Rs.)
Total Cost of Scheduled Items (Rs.)

## External Development Work
UNHCR PAKISTAN
CONSTRUCTION OF ACCESS STREET FROM GPS KESU TO GHS KESU, DISTRICT CHITRAL (LENGTH-1 = 200 RFT, WIDTH-1=10RFT & LENGTH-2= 375RFT, WIDTH-2=6 RFT)
BILL OF QUANITITES (BOQ)
CIVIL WORKS
ITEM NO. | KPK MRS-2021 REF. NO. / NS | DESCRIPTION | UNIT |  | QTY | UNIT RATE (Rs.) | TOTAL AMOUNT (Rs.)
(a) | (b) | (c) | (d) |  | (e) | (f) | (g)
A |  | CIVIL WORK ACCESS STREET
SCHEDULED ITEMS
EARTHWORK (EXCAVATION AND EMBANKMENT)
1 | 03-70-a | Formation of Embankment from Roadway Excavation in Common Material including compaction Modified AASHTO 90% by power roller. | 1000 | Cft | 2125
CONCRETE
2 | 06-02 | Dry rammed shingle brick ballast or stone ballast 1.5" to 2" gauge (8" thick) | 100 | Cft | 1330
3 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) dividing in panels (6" thick) | 100 | Cft | 2200
Cost of Scheduled Items (Rs.)
Add 15% above on Scheduled Item for District Chitral (Rs.)
Total Cost of Scheduled Items (Rs.)