## Summary
UNHCR PAKISTAN
CONSTRUCTION/RENOVATION OF INFRASTRUCTURE/WASH & ENERGY FACILITIES 2022 IN KHYBER PAKHTUNKHWA
DISTRICT HANGU
Summary of Cost
S.No | RV school Code | RV Names | District | Cost (PKR) | Repair Work | New Work
1 | Community | Lakhti Banda | Hangu |  | - | PCC street & Drain Work | 8000
2 | ALP(s) 16 & PSB-199 | Lakhti Banda | Hangu |  | 8 class rooms | 2 class rooms, 4 toilets, hand wash, boundary wall & gate, solarization of 9 class rooms, 1 ALP room | 2940
3 | PSB-189 | Doaba, Kahi | Hangu |  | - | 9 class rooms, hand wash, boundary wall, solarization of 9 class rooms, 5kW system for solar pump | 350
4 | PSB-202 | Mamu Kor, Kahi | Hangu |  | 9 class rooms | 2 toilets, hand wash, solar pump, boundary wall & gate, solarization of 9 class rooms | 2580
5 | PSC-200 | Kotkai, Kata Kotkai | Hangu |  | - | Solarization of 10 class rooms
6 | ALP(s) 18 | Thall 1 | Hangu |  | - | Solarization of ALP with battery backup
7 | ALP(s) 19 | Thall 2 | Hangu |  | - | Solarization of ALP with battery backup
Total Cost (Rs.) | [6 empty] | 13870
11130

## Hangu-Combine
UNHCR PAKISTAN
CONSTRUCTION/RENOVATION OF INFRASTRUCTURE/WASH & ENERGY FACILITIES 2022 IN KHYBER PAKHTUNKHWA
DISTRICT HANGU
BILL OF QUANTITIES
ITEM No. | KPK MRS-2022 REF. No. / NS | DESCRIPTION | UNIT |  | QTY | UNIT RATE (Rs.) | TOTAL AMOUNT (Rs.)
(a) | (b) | (c) | (d) |  | (e) | (f) | (g)
Site No. 14
Drain & Street Lakhti Banda, Hangu (03 Nos Clusters)
Mangal Camp
A |  | DRAIN WORK
1 | 03-25-b | Excavation in foundation of building, bridges,drain etc complete : in ordinary soil. | 1000 | Cft | 2060
2 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) | 100 | Cft | 1660
3 | 06-46-b | Plain Cement Concrete including placing,compacting, finishing & curing (Ratio 1:2:4)Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape - Position / Vertical | 100 | Sft | 1680
4 | 23-03-a-01 | Providing & laying R.C.C. pipe sewers, moulded with cement concrete 1:1-1/2:3 conforming to ASTM specification C-76-79, Class II, Wall B,including carriage, lowering in trenches to correct alignment and grade, jointing with rubber ring,cutting pipes where necessary, testing, etc. complete:-12" i/d, wall thickness 2". | 1 | Rft | 50
5 | 23-03-a-03 | Providing & laying R.C.C. pipe sewers, moulded with cement concrete 1:1-1/2:3 conforming to ASTM specification C-76-79, Class II, Wall B, including carriage, lowering in trenches to correct alignment and grade, jointing with rubber ring, cutting pipes where necessary, testing, etc. complete:- 18" i/d, wall thickness 2.5". | 1 | Rft | 50
B |  | STREET WORK
6 | 03-70-a | Formation of Embankment from Roadway Excavation in Common Material including compaction Modified AASHTO 90% by power roller. | 1000 | Cft | 9940
7 | 06-02' | Dry rammed shingle brick ballast or stone ballast 1.5" to 2" guage | 100 | Cft | 4260
8 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) | 100 | Cft | 8515
Nasir Kalay
C |  | DRAIN WORK
9 | 03-25-b | Excavation in foundation of building, bridges,drain etc complete : in ordinary soil. | 1000 | Cft | 3020
10 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) | 100 | Cft | 2365
11 | 06-46-b | Plain Cement Concrete including placing,compacting, finishing & curing (Ratio 1:2:4)Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape - Position / Vertical | 100 | Sft | 2400
12 | 23-03-a-01 | Providing & laying R.C.C. pipe sewers, moulded with cement concrete 1:1-1/2:3 conforming to ASTM specification C-76-79, Class II, Wall B,including carriage, lowering in trenches to correct alignment and grade, jointing with rubber ring,cutting pipes where necessary, testing, etc. complete:-12" i/d, wall thickness 2". | 1 | Rft | 75
13 | 23-03-a-03 | Providing & laying R.C.C. pipe sewers, moulded with cement concrete 1:1-1/2:3 conforming to ASTM specification C-76-79, Class II, Wall B, including carriage, lowering in trenches to correct alignment and grade, jointing with rubber ring, cutting pipes where necessary, testing, etc. complete:- 18" i/d, wall thickness 2.5". | 1 | Rft | 100
D |  | STREET WORK
14 | 03-70-a | Formation of Embankment from Roadway Excavation in Common Material including compaction Modified AASHTO 90% by power roller. | 1000 | Cft | 14930
15 | 06-02' | Dry rammed shingle brick ballast or stone ballast 1.5" to 2" guage | 100 | Cft | 6400
16 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) | 100 | Cft | 12795
Main Kalay
E |  | DRAIN WORK
17 | 03-25-b | Excavation in foundation of building, bridges,drain etc complete : in ordinary soil. | 1000 | Cft | 7160
18 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) | 100 | Cft | 5450
19 | 06-46-b | Plain Cement Concrete including placing,compacting, finishing & curing (Ratio 1:2:4)Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape - Position / Vertical | 100 | Sft | 5600
20 | 23-03-a-01 | Providing & laying R.C.C. pipe sewers, moulded with cement concrete 1:1-1/2:3 conforming to ASTM specification C-76-79, Class II, Wall B,including carriage, lowering in trenches to correct alignment and grade, jointing with rubber ring,cutting pipes where necessary, testing, etc. complete:-12" i/d, wall thickness 2". | 1 | Rft | 200
21 | 23-03-a-03 | Providing & laying R.C.C. pipe sewers, moulded with cement concrete 1:1-1/2:3 conforming to ASTM specification C-76-79, Class II, Wall B, including carriage, lowering in trenches to correct alignment and grade, jointing with rubber ring, cutting pipes where necessary, testing, etc. complete:- 18" i/d, wall thickness 2.5". | 1 | Rft | 200
F |  | STREET WORK
22 | 03-70-a | Formation of Embankment from Roadway Excavation in Common Material including compaction Modified AASHTO 90% by power roller. | 1000 | Cft | 30950
23 | 06-02' | Dry rammed shingle brick ballast or stone ballast 1.5" to 2" guage | 100 | Cft | 13260
24 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) | 100 | Cft | 26525
Total Cost of Scheduled Items (Rs.)
Add 5% above on Scheduled Item for District Hangu (Rs.)
Total Cost of Scheduled Items (Rs.)
Site No. 16
RV School ALP (s) 16 PSB-199 Lakhti Banda, Hangu
A |  | 08 CLASS ROOMS & 02 CLASS ROOMS, 05 TOILETS DISMANTLING WORK
1 | 04-02' | Dismantling stone masonry in mud mortar | 100 | Cft | 1740
2 | 04-12' | Dismantling brick work in mud mortar | 100 | Cft | 490
3 | 04-19-c | Dismantling : Plain Cement Concrete 1:2:4 | 100 | Cft | 55
4 | 04-24' | Dismantling roof of wooden planks & battens from any height | 100 | Sft | 660
5 | 04-45-b | Scraping : Ordinary distemper, oil bound distemper or paint off wall & Door,Window | 100 | Cft | 880
6 | 06-05-f | Plain Cement Concrete including placing,compacting, finishing & curing (Ratio 1:2:4) for roof treatment. | 100 | Cft | 390
7 | 07-05-a-04 | 1st class brick work in ground floor Cement, sand mortar 1:5 | 100 | Cft | 160
8 | 09-11-a | Earth filling over roof including watering,ramming etc 3" thick earth filling and 1" mudplaster. | 100 | Sft | 2350
9 | 09-46' | Providing and Laying Prestressed Roof of Slab/Girder, 2" thick PCC 1:2:4 with chicken mesh, polythene, mud, tar | 1 | Sft | 200
10 | 10-15-d | Provide & lay topping of concrete 1:2:4, including surface finishing & dividing in panels : 2" thick | 100 | Sft | 320
11 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft | 3200
12 | 11-23-b-01 | White washing: Old surface : One coat | 100 | Sft | 10430
13 | 11-23-b-02 | White washing: Old surface : Two coats | 100 | Sft | 10430
14 | 12-62' | Provide & fix GI wire gauze 22 SWG, 12x12 mesh per sq. in, fixed to steel window complete | 1 | Sft | 130
15 | 13-02-c-01 | Painting old surfaces : Doors / windows any type First coat | 100 | Sft | 880
16 | 13-02-c-02 | Painting old surfaces : Doors / windows any type Each subsequent coat | 100 | Sft | 880
17 | 14-97 | Supply of 150 Micron Polythene sheet of approved quality | 1 | Kg | 33
18 | 15-02-a-08 | Supply and Fixing PVC pipe for draining rain water (from roof) complete On surface including clamps etc: 4" i/d | 1 | Rft | 55
19 | 25-39-a-05 | Providing and fixing steel windows/Ventilator with openable glazed pannels, using beam section for frame 1-1/2" x 1" x 5/8" x 1/8", z-section for leaves 3/4" x 1" x 3/4" x 1/8", T- section sashes 1"x1"x1/8", glass panes, wooden screed for glazing embded over a thin layer of putty duly screwed with leaves, brass fittings holdfast, duly painted, complete in all respects, including all cost of material and labour etc. as per approved design and as directed by the engineer - in -charge Glass pane 5mm thick | 1 | Sft | 12
20 | 25-45-a | Supplying and Fixing 18 SWG MS Sheet Door with angle iron frame (1.5"x1.5"x1/8"), bolt, hinges, paint etc complete | 1 | Sft | 21
21 | 27-04 | Repairing & re-fixing of steel main gate ,doors/windows i/c holdfast, welding complete in all respects. | 1 | Sft | 220
B |  | CONSTRUCTION OF 02 NOS. NEW CLASS ROOM
22 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 700
23 | 03-25-b | Excavation in foundation of building, bridges etc complete : in ordinary soil. | 1000 | Cft | 1330
24 | 06-02' | Dry rammed shingle brick ballast or stone ballast 1.5" to 2" guage | 100 | Cft | 215
25 | 06-05-h | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:3:6) | 100 | Cft | 190
26 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100 | Cft | 215
27 | 06-07-a-03 | RCC including Precast/Prestressed slab, column, beam, lintel, girder etc. (1:2:4). | 100 | Cft | 17
28 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | kg | 31
29 | 06-26-a-02 | Damp proof course of cem. conc. 1:2:4 including bitumen coat, 1 layer polythene & 1 coat bitumen (2" thick) | 100 | Sft | 110
30 | 07-04-a-04 | 1st class brick work in foundation and plinth in Cement, sand mortar 1:5 | 100 | Cft | 570
31 | 07-05-a-04 | 1st class brick work in ground floor Cement, sand mortar 1:5 | 100 | Cft | 1030
32 | 09-46' | Providing and Laying Prestressed Roof of Slab/Girder, 2" thick PCC 1:2:4 with chicken mesh, polythene, mud, tar | 1 | Sft | 750
33 | 10-15-d | Provide & lay topping of concrete 1:2:4, including surface finishing & dividing in panels : 2" thick | 100 | Sft | 650
34 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft | 1340
35 | 11-18-b | Cement pointing struck joints, on walls, upto 20' height : Ratio 1:3 | 100 | Sft | 1170
36 | 11-23-a-01 | White washing: New surface : One coat | 100 | Sft | 1990
37 | 11-23-a-02 | White washing: New surface : Two coat | 100 | Sft | 1990
38 | 11-29 | Extra cost of labour & material for red oxide pigment in cement pointing to match bricks | 100 | Sft | 1170
39 | 12-61' | MS flat 1/2"x1/8" grill in windows of approved design | 1 | Sft | 60
40 | 15-02-a-08 | Supply and Fixing PVC pipe for draining rain water (from roof) complete On surface including clamps etc: 4" i/d | 1 | Rft | 20
41 | 25-39-a-05 | Providing and fixing steel windows/Ventilator with openable glazed pannels, using beam section for frame 1-1/2" x 1" x 5/8" x 1/8", z-section for leaves 3/4" x 1" x 3/4" x 1/8", T- section sashes 1"x1"x1/8", glass panes, wooden screed for glazing embded over a thin layer of putty duly screwed with leaves, brass fittings holdfast, duly painted, complete in all respects, including all cost of material and labour etc. as per approved design and as directed by the engineer - in -charge Glass pane 5mm thick | 1 | Sft | 60
42 | 25-45-a | Supplying and Fixing 18 SWG MS Sheet Door with angle iron frame (1.5"x1.5"x1/8"), bolt, hinges, paint etc complete | 1 | Sft | 56
43 | 28-15 | Pre anti Termite Treatment in the building mixed with water of mixing ratio as per the manufacturer's certified manual | 100 | Sft | 1560
C |  | CONSTRUCTION OF 04 NOS. NEW TOILETS
44 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 190
45 | 03-25-b | Excavation in foundation of building, bridges etc complete : in ordinary soil. | 1000 | Cft | 310
46 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) | 100 | Cft | 30
47 | 06-05-h | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:3:6) | 100 | Cft | 60
48 | 06-07-a-03 | RCC including Precast/Prestressed slab, column, beam, lintel, girder etc. (1:2:4). | 100 | Cft | 17
49 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | kg | 30
50 | 06-26-a-02 | Damp proof course of cem. conc. 1:2:4 including bitumen coat, 1 layer polythene & 1 coat bitumen (2" thick) | 100 | Sft | 48
51 | 07-04-a-04 | 1st class brick work in foundation and plinth in Cement, sand mortar 1:5 | 100 | Cft | 155
52 | 07-05-a-04 | 1st class brick work in ground floor Cement, sand mortar 1:5 | 100 | Cft | 400
53 | 07-30' | Supplying and filling sand under floor or plugging in wells | 100 | Cft | 30
54 | 09-46' | Providing and Laying Prestressed Roof of Slab/Girder, 2" thick PCC 1:2:4 with chicken mesh, polythene, mud, tar | 1 | Sft | 185
55 | 10-39-a | Glazed tile 1/4" thick dado jointed in white cement complete : Ceramic Tile | 100 | Sft | 310
56 | 10-50-a | Providing and Fixing Ceramic Floor Tiles of approved quality of Size : 12" x 12" | 100 | Sft | 80
57 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft | 325
58 | 11-18-b | Cement pointing struck joints, on walls, upto 20' height : Ratio 1:3 | 100 | Sft | 440
59 | 11-23-a-01 | White washing: New surface : One coat | 100 | Sft | 465
60 | 11-23-a-02 | White washing: New surface : Two coat | 100 | Sft | 465
61 | 11-29 | Extra cost of labour & material for red oxide pigment in cement pointing to match bricks | 100 | Sft | 440
62 | 25-39-a-05 | Providing and fixing steel windows/Ventilator with openable glazed pannels, using beam section for frame 1-1/2" x 1" x 5/8" x 1/8", z-section for leaves 3/4" x 1" x 3/4" x 1/8", T- section sashes 1"x1"x1/8", glass panes, wooden screed for glazing embded over a thin layer of putty duly screwed with leaves, brass fittings holdfast, duly painted, complete in all respects, including all cost of material and labour etc. as per approved design and as directed by the engineer - in -charge Glass pane 5mm thick | 1 | Sft | 16
63 | 25-45-a | Supplying and Fixing 18 SWG MS Sheet Door with angle iron frame (1.5"x1.5"x1/8"), bolt, hinges, paint etc complete | 1 | Sft | 70
64 | 28-15 | Pre anti Termite Treatment in the building mixed with water of mixing ratio as per the manufacturer's certified manual | 100 | Sft | 435
D |  | PLUMBING WORKS
65 | 06-07-d-05 | Providing manhole size 24" x 18" (inside dimensions) as per approved design and specifications complete for 4" to 12" dia pipes upto 4 ft. (1.2 m) depth with 16" dia.Concrete Cover fixed in 4" thick RCC 1:2:4 slab (with 5 lbs per Cu.ft. or 80 kg/Cu.m of steel), burnt brick masonry walls 9" (225 mm) thick set in 1:3 cement sand mortar, 6" thick 1:3:6 cement concrete in foundation, 4" av. thickness 1:2:4 cement concrete in benching and 1/2" (13mm) thick cement sand plaster in 1:3 to all inside wall surfaces, channels and benching including making requisite number of main and branch channels but excluding the cost of excavation, back filling and disposal of excavated stuff | 1 | Each | 1
66 | 14-03-b | Providing and Fixing glazed earthen ware WC squatting type with built-in foot rests complete in all respects : Coloured | 1 | Each | 4
67 | 14-05-a-06 | Providing and Fixing glazed earthen ware wash hand basin (WHB) complete size 56x40 cm (22"x16"), including bracket set, waste coupling, complete in all respects: Colour with pedestal (Normal Quality) | 1 | Each | 4
68 | 14-10-b | Providing and Fixing glazed earthen ware low down flushing cistern 3 gallons (13.63 Liters) capacity including bracket set, copper connection, etc. complete in all respects: Coloured | 1 | Each | 4
69 | 14-13 | Providing and fixing choricum plated soap dish complete. | 1 | Each | 4
70 | 14-15 | Providing and Fixing CP (chromium plated) toilet paper holder complete | 1 | Each | 4
71 | 14-22-b | Providing and fixing chromium plated CP stop-cock, heavy type : 1.5 cm (1/2") | 1 | Each | 4
72 | 14-24-b | Providing and fixing chromium plated (CP) bib-cock heavy duty of approved quality : 1.5 cm 1/2" | 1 | Each | 4
73 | 14-27-a | Providing and fixing chorimum plated (CP) mixing valve for wash hand basin (WHB), sink or shower of approved (Best) quality | 1 | Each | 4
74 | 14-31-b | Providing and Fixing cast iron (CI) floor trap approved quality including CI grating & concrete chamber all round : 4"x3" (100 mm x 75 mm) | 1 | Each | 4
75 | 14-32-b | Providing and Fixing 'P' trap of approved quality including GI grating & PCC chamber 4" (100 mm) glazed | 1 | Each | 4
76 | 14-33 | Providing and Fixing 4" gully trap of approved quality including cement concrete cost of PVC grating 6" x6" (150 x 150 mm) and masonry chamber 12"x12" (300 x 300 mm). | 1 | Each | 1
77 | 14-37-c | Supply and Fixing cast iron (CI) manhole cover with frame etc (Heavey Type) of approved quality complete: 24" (610 mm) dia | 1 | Each | 1
78 | 14-48-b | Providing and Fixing brass ball float valve of approved quality: 3/4" dia | 1 | Each | 1
79 | 14-55-e | Providing and Fixing GI pipe & including specials complete: 3/4" dia (light) | 1 | Rft | 75
80 | 14-55-f | Providing and Fixing GI pipe & including specials complete: 1/2" dia (light) | 1 | Rft | 45
81 | 14-69-b-01 | Supplying and Fixing Polyethylene Water Tank made from food grade FDA Certified raw material, 3 layers UV stablized, inert with water, anti-fungus and anti-bacterial and have a service life of more than 10 years : 200 gallons (Horizontal) | 1 | Each | 1
82 | 14-144-b | Supplying and Fixing UPVC soil waste and vent pipe class B : 4" dia | 1 | Rft | 45
83 | 14-144-c | Supplying and Fixing UPVC soil waste and vent pipe class B : 3" dia | 1 | Rft | 30
84 | 14-144-d | uPVC Soil, Waste and vent pipes conforming to ISO:3633 type "B" or BS-4514/5255 class "A", including imported rubber ring/solvent cement fittings, jointing, cutting, and breaking concrete/masonry and then making it good, applying painting, cleaning and testing etc. complete in all respects.(for sanitary drainage) : 2" dia | 1 | Rft | 10
85 | 23-10 | Septic Tank (int.Size: 7'x2'x5') complete. | 1 | Each | 1
86 | 23-11 | Soakage Pit (6'dia x 15' deep) complete. | 1 | Each | 1
E |  | BOUNDARY WALL & GATE
87 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 150
88 | 03-25-b | Excavation in foundation of building, bridges etc complete : in ordinary soil. | 1000 | Cft | 300
89 | 04-12' | Dismantling brick work in mud mortar | 100 | Cft | 235
90 | 06-05-h | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:3:6) | 100 | Cft | 60
91 | 06-26-a-02 | Damp proof course of cem. conc. 1:2:4 including bitumen coat, 1 layer polythene & 1 coat bitumen (2" thick) | 100 | Sft | 30
92 | 07-04-a-04 | 1st class brick work in foundation and plinth in Cement, sand mortar 1:5 | 100 | Cft | 115
93 | 07-05-a-04 | 1st class brick work in ground floor Cement, sand mortar 1:5 | 100 | Cft | 190
94 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft | 260
95 | 11-18-b | Cement pointing struck joints, on walls, upto 20' height : Ratio 1:3 | 100 | Sft | 280
96 | 11-23-a-01 | White washing: New surface : One coat | 100 | Sft | 260
97 | 11-23-a-02 | White washing: New surface : Two coat | 100 | Sft | 260
98 | 11-29 | Extra cost of labour & material for red oxide pigment in cement pointing to match bricks | 100 | Sft | 280
99 | 25-45-b | Supplying and Fixing 18 SWG MS Sheet Gate with angle iron frame (2"x2"x3/16") with side window, lock, painting etc | 1 | Sft | 48
100 | 25-60-b | Supply and fixing razor wire (1'-6" dia) consisting of 1-1/2"X1-1/2"X3/16" angle iron Y post 2'-6"long 6' to 8' center to ter embedded in concrete block of size 3"X9"X6" (PCC 1:2:4), at top of boundary wall including painting posts etc.Complete in all respects. | 1 | Rft | 45
F |  | HAND WASH FACILITY
101 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 20
102 | 03-25-b | Excavation in foundation of building, bridges etc complete : in ordinary soil. | 1000 | Cft | 90
103 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100 | Cft | 29
104 | 06-07-b-03 | RCC in raft foundation slab, base slab of column & ret. wall etc, not including in 06-06. (1:2:4) | 100 | Cft | 14
105 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | kg | 26
106 | 07-05-a-04 | 1st class brick work in ground floor Cement, sand mortar 1:5 | 100 | Cft | 115
107 | 10-39-a | Glazed tile 1/4" thick dado jointed in white cement complete : Ceramic Tile | 100 | Sft | 50
108 | 10-50-a | Providing and Fixing Ceramic Floor Tiles of approved quality of Size : 12" x 12" | 100 | Sft | 80
109 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft | 85
G |  | PLUMBING & SWERAGE WORKS
110 | 14-13 | Providing and fixing choricum plated soap dish complete. | 1 | Each | 5
111 | 14-24-b | Providing and fixing chromium plated (CP) bib-cock heavy duty of approved quality : 1.5 cm 1/2" | 1 | Each | 5
112 | 14-28-f | Providing and fixing gun metal peet / gate valve (screwed) 20 mm (3/4") dia of approved quality. | 1 | Each | 1
113 | 14-55-e | Providing and Fixing GI pipe & including specials complete: 3/4" dia (light) | 1 | Rft | 60
114 | 14-55-f | Providing and Fixing GI pipe & including specials complete: 1/2" dia (light) | 1 | Rft | 17
115 | 14-69-a-02 | Providing and fixing Fibre Glass , corrosion resistant, UV stablized WaterTank : 400 gallons | 1 | Each | 1
116 | 25-58-b | Providing and fixing of parking shed consisting ofCGI Sheet, tubular pipe frame (heavy) quality andcircular columns excluding cost of foundation. | 1 | Sft | 75
H |  | DRAIN WORK (P.C.C)
117 | 06-05-h | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:3:6) | 100 | Cft | 95
I |  | BUILDING ELECTRICAL SOLAR WORKS:
118 | 26-01-b-01 | Supply and Erection PVC flexible pipe : 1" i/d (From Panel to Penel ) | 1 | Rft | 150
119 | 26-01-l-02 | Supply and Erection of DC CEILING FANS 48 inch 30-36 W (> 320 RPM with Speed Controller) | 1 | No. | 20
120 | 26-01-d-01 | Supply and Erection of Solar PV Module (Solar Panel) Mono-crystalline A-Grade (per Watt) (As per Approved Specifications) 8 no existing Panel will be used with new Panels | 1 | Watt | 1920
121 | 26-01-f-06 | Supply and Erection of Lithium LiFeP04 battery 6000 cycles & 5 Years Warranty per KWhr | 1 | KWhr | 6.6
122 | 26-01-g-01 | Supply and Erection 1x2.5 sq.mm flexible copper Cable | 1 | Rft | 2580
123 | 26-01-g-03 | Supply and Erection 1x6 sq.mm single core (XPLE/XPLO insulated/PCV sheathed) flexible copper cable | 1 | Rft | 730
124 | 26-01-h-01 | Supply and Erection MC4 connector (TUV Approved) | 1 | Pair | 6
125 | 26-01-h-02 | Supply and Erection MC4 Branch connector | 1 | Pair | 42
126 | 26-01-m-01 | Supply and Erection of hot dipped (80 microns Average) galvanized steel of minimum thickness of 12 SWG / 2.64 mm Channel / Pipe or 8 SWG / 4.06 mm Angle | 1 | Per Watt | 3200
127 | 26-01-o | Supply and Erection of BOX / STAND for Batteries SHS Inverter & Charge Controller | 1 | Watt | 3200
128 | 15-25 | Supply and Erection girder clamp hook, 5/8" dia.for hanging ceiling fans | 1 | Each | 20
129 | 15-27-f | Supply at site, installation, testing and commissioning of Six gang light control switches 10 Amps,one way, including appropriate size concealed MS, powder coated back box, complete in all respects. | 1 | Each | 10
J |  | CONDUITS & PIPES
130 | 15-02-a-02 | Supply and Erection PVC pipe for wiring purpose complete On surface including clamps etc: 3/4" i/d | 1 | Rft | 550
131 | 15-02-a-03 | Supply and Erection PVC pipe for wiring purpose complete On surface including clamps etc: 1" i/d (from Panels to Battery Box and Switch to First Point ) | 1 | Rft | 450
132 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) (1'x1'x1') Foundation for Solar Panels Structure) | 100 | Cft | 28
Total Cost of Scheduled Items (Rs.)
Add 5% above on Scheduled Item for District Hangu (Rs.)
Total Cost of Scheduled Items (Rs.)
K |  | CIVIL WORKS NON-SCHEDULE
133 | NS-01 | Removal and disposing of plaster in complete all respect. | 1 | Sft | 1600
L |  | SOLAR WORKS NON-SCHEDULE
134 | NS-02 | Supply and Erection of DC ENERGY EFFICIENT LED LIGHT BULBS (12 W) | 1 | No. | 40
135 | NS-03 | Supply and Erection of PWM Solar Light Charge Controller (40/ 50 Amps, (12/24 V) with all sort of electronic protections | 1 | No. | 9
136 | NS-04 | Supply, installation, testing & commissioning of the DC Circuit Breakers with all mounting accessories Along with enclouser complete in all respect) 2P, 32-A ABB or Chint | 1 | No | 20
Cost of Non-Scheduled Items (Rs.)
Total Cost of Scheduled Items & Non-Scheduled Items (Rs.)
| NOTE : | Follow the solar solution for each room
|  | 160 Watt Panel |  | 2
|  | 12V, 50/ 55Ah Battery |  | 1
|  | PWM Charge Controller |  | 1
|  | DC LED Bulb |  | 4
|  | DC Fan |  | 2
12V, 100Ah Battery for ALP
Site No. 19
RV School PSB-189 Doaba Kahi, Hangu
A |  | 09 CLASS ROOMS DISMANTLING WORK
1 | 04-02' | Dismantling stone masonry in mud mortar | 100 | Cft | 7450
2 | 04-12' | Dismantling brick work in mud mortar | 100 | Cft | 440
3 | 04-24' | Dismantling roof of wooden planks & battens from any height | 100 | Sft | 3170
B |  | CONSTRUCTION OF 09 NOS. NEW CLASS ROOM
4 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 2730
5 | 03-25-b | Excavation in foundation of building, bridges etc complete : in ordinary soil. | 1000 | Cft | 5660
6 | 06-02' | Dry rammed shingle brick ballast or stone ballast 1.5" to 2" guage | 100 | Cft | 1200
7 | 06-05-h | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:3:6) | 100 | Cft | 810
8 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100 | Cft | 1200
9 | 06-07-a-03 | RCC including Precast/Prestressed slab, column, beam, lintel, girder etc. (1:2:4). | 100 | Cft | 85
10 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | kg | 155
11 | 06-26-a-02 | Damp proof course of cem. conc. 1:2:4 including bitumen coat, 1 layer polythene & 1 coat bitumen (2" thick) | 100 | Sft | 425
12 | 07-04-a-04 | 1st class brick work in foundation and plinth in Cement, sand mortar 1:5 | 100 | Cft | 2095
13 | 07-05-a-04 | 1st class brick work in ground floor Cement, sand mortar 1:5 | 100 | Cft | 3735
14 | 09-46' | Providing and Laying Prestressed Roof of Slab/Girder, 2" thick PCC 1:2:4 with chicken mesh, polythene, mud, tar | 1 | Sft | 4010
15 | 10-15-d | Provide & lay topping of concrete 1:2:4, including surface finishing & dividing in panels : 2" thick | 100 | Sft | 3600
16 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft | 6880
17 | 11-18-b | Cement pointing struck joints, on walls, upto 20' height : Ratio 1:3 | 100 | Sft | 3450
18 | 11-23-a-01 | White washing: New surface : One coat | 100 | Sft | 10490
19 | 11-23-a-02 | White washing: New surface : Two coat | 100 | Sft | 10490
20 | 11-29 | Extra cost of labour & material for red oxide pigment in cement pointing to match bricks | 100 | Sft | 3450
21 | 12-61' | MS flat 1/2"x1/8" grill in windows of approved design | 1 | Sft | 312
22 | 15-02-a-08 | Supply and Fixing PVC pipe for draining rain water (from roof) complete On surface including clamps etc: 4" i/d | 1 | Rft | 80
23 | 25-39-a-05 | Providing and fixing steel windows/Ventilator with openable glazed pannels, using beam section for frame 1-1/2" x 1" x 5/8" x 1/8", z-section for leaves 3/4" x 1" x 3/4" x 1/8", T- section sashes 1"x1"x1/8", glass panes, wooden screed for glazing embded over a thin layer of putty duly screwed with leaves, brass fittings holdfast, duly painted, complete in all respects, including all cost of material and labour etc. as per approved design and as directed by the engineer - in -charge Glass pane 5mm thick | 1 | Sft | 312
24 | 25-45-a | Supplying and Fixing 18 SWG MS Sheet Door with angle iron frame (1.5"x1.5"x1/8"), bolt, hinges, paint etc complete | 1 | Sft | 252
25 | 28-15 | Pre anti Termite Treatment in the building mixed with water of mixing ratio as per the manufacturer's certified manual | 100 | Sft | 9580
C |  | BOUNDARY WALL
26 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 100
27 | 03-25-b | Excavation in foundation of building, bridges etc complete : in ordinary soil. | 1000 | Cft | 220
28 | 04-12' | Dismantling brick work in mud mortar | 100 | Cft | 170
29 | 06-05-h | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:3:6) | 100 | Cft | 40
30 | 06-26-a-02 | Damp proof course of cem. conc. 1:2:4 including bitumen coat, 1 layer polythene & 1 coat bitumen (2" thick) | 100 | Sft | 20
31 | 07-04-a-04 | 1st class brick work in foundation and plinth in Cement, sand mortar 1:5 | 100 | Cft | 75
32 | 07-05-a-04 | 1st class brick work in ground floor Cement, sand mortar 1:5 | 100 | Cft | 125
33 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft | 160
34 | 11-18-b | Cement pointing struck joints, on walls, upto 20' height : Ratio 1:3 | 100 | Sft | 200
35 | 11-23-a-01 | White washing: New surface : One coat | 100 | Sft | 160
36 | 11-23-a-02 | White washing: New surface : Two coat | 100 | Sft | 160
37 | 11-29 | Extra cost of labour & material for red oxide pigment in cement pointing to match bricks | 100 | Sft | 200
38 | 25-60-b | Supply and fixing razor wire (1'-6" dia) consisting of 1-1/2"X1-1/2"X3/16" angle iron Y post 2'-6"long 6' to 8' center to ter embedded in concrete block of size 3"X9"X6" (PCC 1:2:4), at top of boundary wall including painting posts etc.Complete in all respects. | 1 | Rft | 25
D |  | HAND WASH FACILITY
39 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 20
40 | 03-25-b | Excavation in foundation of building, bridges etc complete : in ordinary soil. | 1000 | Cft | 90
41 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100 | Cft | 29
42 | 06-07-b-03 | RCC in raft foundation slab, base slab of column & ret. wall etc, not including in 06-06. (1:2:4) | 100 | Cft | 14
43 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | kg | 26
44 | 07-05-a-04 | 1st class brick work in ground floor Cement, sand mortar 1:5 | 100 | Cft | 115
45 | 10-39-a | Glazed tile 1/4" thick dado jointed in white cement complete : Ceramic Tile | 100 | Sft | 50
46 | 10-50-a | Providing and Fixing Ceramic Floor Tiles of approved quality of Size : 12" x 12" | 100 | Sft | 80
47 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft | 85
E |  | PLUMBING & SWERAGE WORKS
48 | 14-13 | Providing and fixing choricum plated soap dish complete. | 1 | Each | 5
49 | 14-24-b | Providing and fixing chromium plated (CP) bib-cock heavy duty of approved quality : 1.5 cm 1/2" | 1 | Each | 5
50 | 14-28-f | Providing and fixing gun metal peet / gate valve (screwed) 20 mm (3/4") dia of approved quality. | 1 | Each | 1
51 | 14-55-e | Providing and Fixing GI pipe & including specials complete: 3/4" dia (light) | 1 | Rft | 50
52 | 14-55-f | Providing and Fixing GI pipe & including specials complete: 1/2" dia (light) | 1 | Rft | 17
53 | 14-69-a-02 | Providing and fixing Fibre Glass , corrosion resistant, UV stablized WaterTank : 400 gallons | 1 | Each | 1
54 | 25-58-b | Providing and fixing of parking shed consisting ofCGI Sheet, tubular pipe frame (heavy) quality andcircular columns excluding cost of foundation. | 1 | Sft | 75
F |  | SEPTIC TANK (SLAB)
55 | 06-07-a-03 | RCC including Precast/Prestressed slab, column, beam, lintel, girder etc. (1:2:4). | 100 | Cft | 15
56 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | kg | 25
57 | 14-69-b-01 | Supplying and Fixing Polyethylene Water Tank made from food grade FDA Certified raw material, 3 layers UV stablized, inert with water, anti-fungus and anti-bacterial and have a service life of more than 10 years : 200 gallons (Horizontal) | 1 | Each | 1
G |  | WALKWAY WORKS
58 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) | 100 | Cft | 80
H |  | BUILDING ELECTRICAL SOLAR WORKS
59 | 26-01-b-01 | Supply and Erection PVC flexible pipe : 1" i/d (From Panel to Penel ) | 1 | Rft | 270
60 | 26-01-l-02 | Supply and Erection of DC CEILING FANS 48 inch 30-36 W (> 320 RPM with Speed Controller) | 1 | No. | 18
61 | 26-01-d-01 | Supply and Erection of Solar PV Module (Solar Panel) Mono-crystalline A-Grade (per Watt) (As per Approved Specifications) 8 no existing Panel will be used with new Panels | 1 | Watt | 1080
62 | 26-01-f-06 | Supply and Erection of Lithium LiFeP04 battery 6000 cycles & 5 Years Warranty per KWhr | 1 | KWhr | 4.2
63 | 26-01-g-01 | Supply and Erection 1x2.5 sq.mm flexible copper Cable | 1 | Rft | 1992
64 | 26-01-g-03 | Supply and Erection 1x6 sq.mm single core (XPLE/XPLO insulated/PCV sheathed) flexible copper cable | 1 | Rft | 555
65 | 26-01-h-01 | Supply and Erection MC4 connector (TUV Approved) | 1 | Pair | 6
66 | 26-01-h-02 | Supply and Erection MC4 Branch connector | 1 | Pair | 25
67 | 26-01-m-01 | Supply and Erection of hot dipped (80 microns Average) galvanized steel of minimum thickness of 12 SWG / 2.64 mm Channel / Pipe or 8 SWG / 4.06 mm Angle | 1 | Per Watt | 2360
68 | 26-01-o | Supply and Erection of BOX / STAND for Batteries SHS Inverter & Charge Controller | 1 | Watt | 2360
69 | 15-25 | Supply and Erection girder clamp hook, 5/8" dia.for hanging ceiling fans | 1 | Each | 17
70 | 15-27-f | Supply at site, installation, testing and commissioning of Six gang light control switches 10 Amps,one way, including appropriate size concealed MS, powder coated back box, complete in all respects. | 1 | Each | 9
71 | 15-27-d | Supply at site, installation, testing and commissioning of 4 gang light control switches 10 Amps,one way, including appropriate size concealed MS, powder coated back box, complete in all respects. | 1 | Each | 3
72 | 15-27-c | Supply at site, installation, testing and commissioning of three gang light control switches 10 Amps,one way, including appropriate size concealed MS, powder coated back box, complete in all respects. | 1 | Each | 1
I |  | CONDUITS & PIPES
73 | 15-02-a-02 | Supply and Erection PVC pipe for wiring purpose complete On surface including clamps etc: 3/4" i/d | 1 | Rft | 495
74 | 15-02-a-03 | Supply and Erection PVC pipe for wiring purpose complete On surface including clamps etc: 1" i/d (from Panels to Battery Box and Switch to First Point ) | 1 | Rft | 540
75 | 15-79-d | PVC conduit for surface wiring (duraduct) 2" including all charges for nail screws etc (For Pump cable) | 1 | Rft | 1050
76 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) (1'x1'x1') Foundation for Solar Panels Structure) | 100 | Cft | 28
J |  | SOLAR PUMP
77 | 03-25-b | Excavation in foundation of building, bridges etc complete : in ordinary soil. | 1000 | Cft | 3000
78 | 26-01-d-01 | Supply and Erection of Solar PV Module (Solar Panel) Mono-crystalline A-Grade (per Watt) (As per Approved Specifications) | 1 | Watt | 5000
79 | 26-01-m-01 | Supply and Erection of hot dipped (80 microns Average) galvanized steel of minimum thickness of 12 SWG / 2.64 mm Channel / Pipe or 8 SWG / 4.06 mm Angle | 1 | Per Watt | 5000
80 | 26-01-g-05 | Supply and Erection 1x16 sq.mm Copper cable from Building to Pump (3*16sqmm from building to bore) | 1 | Rft | 3300
81 | 26-01-K-03 | Supply installation and commissioning of DC Submersible (3HP (3000w), 100 meter head) | 1 | No. | 1
82 | 24-18-c-01 | Providing, laying, cutting, jointing, testing and disinfecting UPVC pressure pipeline in trenches (conforming to BS 3505 manufactured ) jointed with socket, elbow, tee, bend and plug bend etc.manufactured by the respective manufacturer complete as per specifications uPVC Pressure Pipes Class D (12 Bar) except excavation. 1.25" Nominal Pipe Size (NPS) | 1 | Rft | 1000
K |  | EARTHING
83 | 26-01-n-02 | Supply and Erection of 1x1 ft 4mm Copper Earthing Plate (Lightning Protection) | 1 | Watt | 5000
84 | 26-01-g-04 | Supply and Erection 1x10 sq.mm flexible copper cable | 1 | Rft | 250
85 | 26-01-n-01 | Supply and Erection of Copper Conductor of 10 AWG (for pump ) | 1 | Watt | 5000
86 | 15-105-a | Supply & erection of Earth Rod (Panels Earthing) | 1 | Each | 4
Total Cost of Scheduled Items (Rs.)
Add 5% above on Scheduled Item for District Hangu (Rs.)
Total Cost of Scheduled Items (Rs.)
L |  | SOLAR WORKS NON-SCHEDULE
87 | NS-01 | Supply and Erection of DC ENERGY EFFICIENT LED LIGHT BULBS (12 W) | 1 | No. | 38
88 | NS-02 | Supply and Erection of PWM Solar Light Charge Controller (40/ 50 Amps, (12/24 V) with all sort of electronic protections | 1 | No. | 7
89 | NS-03 | Providing and fixing Lightning Arrestor 1" Copper rod 6ft long or as per instruction with 4'' Bowl five spikes complete in all respect | 1 | No. | 1
90 | NS-04 | Supply, installation, testing & commissioning of the DC Circuit Breakers with all mounting accessories Along with enclouser complete in all respect) 2P, 32-A ABB or Chint | 1 | No | 18
91 | NS-05 | Supply, installation, testing & commissioning of 5KW VFD Invertor with dry run O/U voltage protection with controls include MCBs Box all mounting accessories Along with enclouser including Control cable from Building to Bore . | 1 | No | 1
92 | NS-06 | Providing and fixing Earth Connecting Point 8"x1.5"x 6-8mm insulators with complete Accessories. | 1 | No | 2
COST OF NON-SCHEDULE ITEMS: Rs.
TOTAL COST OF SCHEDULE AND NON-SCHEDULE ITEMS: Rs.
| NOTE : | Follow the solar solution for each room
|  | 180 Watt Panel |  | 2 | for one class with 1 office
|  | 180 Watt Panel |  | 2 | for one class with 1 office
|  | 180 Watt Panel |  | 2 | for large class room I no
|  | 160 Watt Panel |  | 2 | for each class room
|  | 12V, 50/ 55Ah Battery |  | 1
|  | PWM Charge Controller |  | 1
|  | DC LED Bulb |  | 4
|  | DC Fan |  | 2 and 3
Follow the solar solution for pump 3hp
|  | 545 Watt Panel |  | 9
|  | VFD Invertor |  | 1
Cable from building to Bore 3*16sqmm pvc/pvc/cu
Site No. 20
RV School PSB-202 Mamu Khor Kahi, Hangu
A |  | 09 CLASS ROOMS & 02 TOILETS DISMANTLING WORK
1 | 04-12' | Dismantling brick work in mud mortar | 100 | Cft | 200
2 | 04-19-c | Dismantling : Plain Cement Concrete 1:2:4 | 100 | Cft | 745
3 | 04-24' | Dismantling roof of wooden planks & battens from any height | 100 | Sft | 60
4 | 04-45-b | Scraping : Ordinary distemper, oil bound distemper or paint off wall & Door,Window | 100 | Cft | 950
5 | 06-05-f | Plain Cement Concrete including placing,compacting, finishing & curing (Ratio 1:2:4) for roof treatment. | 100 | Cft | 630
6 | 07-05-a-04 | 1st class brick work in ground floor Cement, sand mortar 1:5 | 100 | Cft | 460
7 | 09-11-a | Earth filling over roof including watering,ramming etc 3" thick earth filling and 1" mudplaster. | 100 | Sft | 3770
8 | 09-46' | Providing and Laying Prestressed Roof of Slab/Girder, 2" thick PCC 1:2:4 with chicken mesh, polythene, mud, tar | 1 | Sft | 150
9 | 10-15-d | Provide & lay topping of concrete 1:2:4, including surface finishing & dividing in panels : 2" thick | 100 | Sft | 700
10 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft | 1900
11 | 11-23-b-01 | White washing: Old surface : One coat | 100 | Sft | 12780
12 | 11-23-b-02 | White washing: Old surface : Two coats | 100 | Sft | 12780
13 | 12-62' | Provide & fix GI wire gauze 22 SWG, 12x12 mesh per sq. in, fixed to steel window complete | 1 | Sft | 145
14 | 13-02-c-01 | Painting old surfaces : Doors / windows any type First coat | 100 | Sft | 950
15 | 13-02-c-02 | Painting old surfaces : Doors / windows any type Each subsequent coat | 100 | Sft | 950
16 | 14-97 | Supply of 150 Micron Polythene sheet of approved quality | 1 | Kg | 50
17 | 15-02-a-08 | Supply and Fixing PVC pipe for draining rain water (from roof) complete On surface including clamps etc: 4" i/d | 1 | Rft | 55
18 | 27-04 | Repairing & re-fixing of steel main gate ,doors/windows i/c holdfast, welding complete in all respects. | 1 | Sft | 215
B |  | CONSTRUCTION OF 02 NOS. NEW TOILETS
19 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 110
20 | 03-25-b | Excavation in foundation of building, bridges etc complete : in ordinary soil. | 1000 | Cft | 170
21 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) | 100 | Cft | 15
22 | 06-05-h | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:3:6) | 100 | Cft | 35
23 | 06-07-a-03 | RCC including Precast/Prestressed slab, column, beam, lintel, girder etc. (1:2:4). | 100 | Cft | 8
24 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | kg | 15
25 | 06-26-a-02 | Damp proof course of cem. conc. 1:2:4 including bitumen coat, 1 layer polythene & 1 coat bitumen (2" thick) | 100 | Sft | 25
26 | 07-04-a-04 | 1st class brick work in foundation and plinth in Cement, sand mortar 1:5 | 100 | Cft | 85
27 | 07-05-a-04 | 1st class brick work in ground floor Cement, sand mortar 1:5 | 100 | Cft | 225
28 | 07-30' | Supplying and filling sand under floor or plugging in wells | 100 | Cft | 15
29 | 09-46' | Providing and Laying Prestressed Roof of Slab/Girder, 2" thick PCC 1:2:4 with chicken mesh, polythene, mud, tar | 1 | Sft | 104
30 | 10-39-a | Glazed tile 1/4" thick dado jointed in white cement complete : Ceramic Tile | 100 | Sft | 155
31 | 10-50-a | Providing and Fixing Ceramic Floor Tiles of approved quality of Size : 12" x 12" | 100 | Sft | 40
32 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft | 160
33 | 11-18-b | Cement pointing struck joints, on walls, upto 20' height : Ratio 1:3 | 100 | Sft | 290
34 | 11-23-a-01 | White washing: New surface : One coat | 100 | Sft | 240
35 | 11-23-a-02 | White washing: New surface : Two coat | 100 | Sft | 240
36 | 11-29 | Extra cost of labour & material for red oxide pigment in cement pointing to match bricks | 100 | Sft | 290
37 | 25-39-a-05 | Providing and fixing steel windows/Ventilator with openable glazed pannels, using beam section for frame 1-1/2" x 1" x 5/8" x 1/8", z-section for leaves 3/4" x 1" x 3/4" x 1/8", T- section sashes 1"x1"x1/8", glass panes, wooden screed for glazing embded over a thin layer of putty duly screwed with leaves, brass fittings holdfast, duly painted, complete in all respects, including all cost of material and labour etc. as per approved design and as directed by the engineer - in -charge Glass pane 5mm thick | 1 | Sft | 8
38 | 25-45-a | Supplying and Fixing 18 SWG MS Sheet Door with angle iron frame (1.5"x1.5"x1/8"), bolt, hinges, paint etc complete | 1 | Sft | 35
39 | 28-15 | Pre anti Termite Treatment in the building mixed with water of mixing ratio as per the manufacturer's certified manual | 100 | Sft | 270
C |  | PLUMBING WORKS
40 | 06-07-d-05 | Providing manhole size 24" x 18" (inside dimensions) as per approved design and specifications complete for 4" to 12" dia pipes upto 4 ft. (1.2 m) depth with 16" dia.Concrete Cover fixed in 4" thick RCC 1:2:4 slab (with 5 lbs per Cu.ft. or 80 kg/Cu.m of steel), burnt brick masonry walls 9" (225 mm) thick set in 1:3 cement sand mortar, 6" thick 1:3:6 cement concrete in foundation, 4" av. thickness 1:2:4 cement concrete in benching and 1/2" (13mm) thick cement sand plaster in 1:3 to all inside wall surfaces, channels and benching including making requisite number of main and branch channels but excluding the cost of excavation, back filling and disposal of excavated stuff | 1 | Each | 1
41 | 14-03-b | Providing and Fixing glazed earthen ware WC squatting type with built-in foot rests complete in all respects : Coloured | 1 | Each | 2
42 | 14-05-a-06 | Providing and Fixing glazed earthen ware wash hand basin (WHB) complete size 56x40 cm (22"x16"), including bracket set, waste coupling, complete in all respects: Colour with pedestal (Normal Quality) | 1 | Each | 2
43 | 14-10-b | Providing and Fixing glazed earthen ware low down flushing cistern 3 gallons (13.63 Liters) capacity including bracket set, copper connection, etc. complete in all respects: Coloured | 1 | Each | 2
44 | 14-13 | Providing and fixing choricum plated soap dish complete. | 1 | Each | 2
45 | 14-15 | Providing and Fixing CP (chromium plated) toilet paper holder complete | 1 | Each | 2
46 | 14-22-b | Providing and fixing chromium plated CP stop-cock, heavy type : 1.5 cm (1/2") | 1 | Each | 2
47 | 14-24-b | Providing and fixing chromium plated (CP) bib-cock heavy duty of approved quality : 1.5 cm 1/2" | 1 | Each | 2
48 | 14-27-a | Providing and fixing chorimum plated (CP) mixing valve for wash hand basin (WHB), sink or shower of approved (Best) quality | 1 | Each | 2
49 | 14-31-b | Providing and Fixing cast iron (CI) floor trap approved quality including CI grating & concrete chamber all round : 4"x3" (100 mm x 75 mm) | 1 | Each | 2
50 | 14-32-b | Providing and Fixing 'P' trap of approved quality including GI grating & PCC chamber 4" (100 mm) glazed | 1 | Each | 2
51 | 14-33 | Providing and Fixing 4" gully trap of approved quality including cement concrete cost of PVC grating 6" x6" (150 x 150 mm) and masonry chamber 12"x12" (300 x 300 mm). | 1 | Each | 1
52 | 14-37-c | Supply and Fixing cast iron (CI) manhole cover with frame etc (Heavey Type) of approved quality complete: 24" (610 mm) dia | 1 | Each | 1
53 | 14-48-b | Providing and Fixing brass ball float valve of approved quality: 3/4" dia | 1 | Each | 1
54 | 14-55-e | Providing and Fixing GI pipe & including specials complete: 3/4" dia (light) | 1 | Rft | 65
55 | 14-55-f | Providing and Fixing GI pipe & including specials complete: 1/2" dia (light) | 1 | Rft | 25
56 | 14-69-b-01 | Supplying and Fixing Polyethylene Water Tank made from food grade FDA Certified raw material, 3 layers UV stablized, inert with water, anti-fungus and anti-bacterial and have a service life of more than 10 years : 200 gallons (Horizontal) | 1 | Each | 1
57 | 14-144-b | Supplying and Fixing UPVC soil waste and vent pipe class B : 4" dia | 1 | Rft | 35
58 | 14-144-c | Supplying and Fixing UPVC soil waste and vent pipe class B : 3" dia | 1 | Rft | 25
59 | 14-144-d | uPVC Soil, Waste and vent pipes conforming to ISO:3633 type "B" or BS-4514/5255 class "A", including imported rubber ring/solvent cement fittings, jointing, cutting, and breaking concrete/masonry and then making it good, applying painting, cleaning and testing etc. complete in all respects.(for sanitary drainage) : 2" dia | 1 | Rft | 10
60 | 23-10 | Septic Tank (int.Size: 7'x2'x5') complete. | 1 | Each | 1
D |  | BOUNDARY WALL & GATE
61 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 70
62 | 03-25-b | Excavation in foundation of building, bridges etc complete : in ordinary soil. | 1000 | Cft | 160
63 | 04-12' | Dismantling brick work in mud mortar | 100 | Cft | 80
64 | 06-05-h | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:3:6) | 100 | Cft | 30
65 | 06-26-a-02 | Damp proof course of cem. conc. 1:2:4 including bitumen coat, 1 layer polythene & 1 coat bitumen (2" thick) | 100 | Sft | 15
66 | 07-04-a-04 | 1st class brick work in foundation and plinth in Cement, sand mortar 1:5 | 100 | Cft | 55
67 | 07-05-a-04 | 1st class brick work in ground floor Cement, sand mortar 1:5 | 100 | Cft | 85
68 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft | 100
69 | 11-18-b | Cement pointing struck joints, on walls, upto 20' height : Ratio 1:3 | 100 | Sft | 140
70 | 11-23-a-01 | White washing: New surface : One coat | 100 | Sft | 100
71 | 11-23-a-02 | White washing: New surface : Two coat | 100 | Sft | 100
72 | 11-29 | Extra cost of labour & material for red oxide pigment in cement pointing to match bricks | 100 | Sft | 140
73 | 25-45-b | Supplying and Fixing 18 SWG MS Sheet Gate with angle iron frame (2"x2"x3/16") with side window, lock, painting etc | 1 | Sft | 48
74 | 25-60-b | Supply and fixing razor wire (1'-6" dia) consisting of 1-1/2"X1-1/2"X3/16" angle iron Y post 2'-6"long 6' to 8' center to ter embedded in concrete block of size 3"X9"X6" (PCC 1:2:4), at top of boundary wall including painting posts etc.Complete in all respects. | 1 | Rft | 130
F |  | HAND WASH FACILITY
75 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 20
76 | 03-25-b | Excavation in foundation of building, bridges etc complete : in ordinary soil. | 1000 | Cft | 90
77 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100 | Cft | 29
78 | 06-07-b-03 | RCC in raft foundation slab, base slab of column & ret. wall etc, not including in 06-06. (1:2:4) | 100 | Cft | 14
79 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | kg | 26
80 | 07-05-a-04 | 1st class brick work in ground floor Cement, sand mortar 1:5 | 100 | Cft | 115
81 | 10-39-a | Glazed tile 1/4" thick dado jointed in white cement complete : Ceramic Tile | 100 | Sft | 50
82 | 10-50-a | Providing and Fixing Ceramic Floor Tiles of approved quality of Size : 12" x 12" | 100 | Sft | 80
83 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft | 85
G |  | PLUMBING & SWERAGE WORKS
84 | 14-13 | Providing and fixing choricum plated soap dish complete. | 1 | Each | 5
85 | 14-24-b | Providing and fixing chromium plated (CP) bib-cock heavy duty of approved quality : 1.5 cm 1/2" | 1 | Each | 5
86 | 14-28-f | Providing and fixing gun metal peet / gate valve (screwed) 20 mm (3/4") dia of approved quality. | 1 | Each | 1
87 | 14-55-e | Providing and Fixing GI pipe & including specials complete: 3/4" dia (light) | 1 | Rft | 60
88 | 14-55-f | Providing and Fixing GI pipe & including specials complete: 1/2" dia (light) | 1 | Rft | 17
89 | 14-69-a-02 | Providing and fixing Fibre Glass , corrosion resistant, UV stablized WaterTank : 400 gallons | 1 | Each | 1
90 | 25-58-b | Providing and fixing of parking shed consisting ofCGI Sheet, tubular pipe frame (heavy) quality andcircular columns excluding cost of foundation. | 1 | Sft | 75
H |  | SOLAR WATER PUMP
91 | 24-05 | Collection and submission at approved water testing laboratory of two water samples in bottles from each bore hole for testing | 1 | Per Set | 1
92 | 24-02-a-05 | Drilling of Bore holes for tube well in all types of soil and soft rock except hard rock from ground level upto 328 ft depth (0m to 100m), including sinking, collection of 100 % corings and withdrawing of pipe, complete as per specifications.: Dia of Bore 8" (200 mm) i/d | 1 | Rft | 80
93 | 24-18-a-04 | Providing, laying, cutting, jointing, testing and disinfecting UPVC pressure pipeline in trenches (conforming to BS 3505 manufactured ) jointed with socket, elbow, tee, bend and plug bend etc.manufactured by the respective manufacturer complete as per specifications UPVC Pressure Pipes Class B (6 Bar) except excavation. 6" Nominal Pipe Size (NPS) | 1 | Rft | 40
94 | 24-09-a-01 | Providing and installing PVC Strainer BSS Class "B" of approved make \ quality in tubewell bore hole, including socket, special sockets, studs etc. complete as per specification:- 6" Nominal Pipe Size (NPS) (150mm) | 1 | Rft | 30
95 | 24-10-d-01 | Providing and installing PVC bail plug in tubewell BSS Class 'D' working pressure : 6"Nominal Pipe Size (NPS) (150 mm) | 1 | Each | 1
96 | 24-18-d-02 | Providing, laying, cutting, jointing, testing and disinfecting UPVC pressure pipeline in trenches (conforming to BS 3505 manufactured ) jointed with socket, elbow, tee, bend and plug bend etc.manufactured by the respective manufacturer complete as per specifications uPVC Pressure Pipes Class E (15 Bar) except excavation. 1" Nominal Pipe Size (NPS) | 1 | Rft | 70
97 | 24-14 | Shrouding with graded pack gravel 3/8" (10 mm) to 1/8" (3 mm) around tubewell in bore hole complete as per specification:- | 1 | Rft | 70
98 | 26-01-d-01 | Supply and Erection of Solar PV Module (Solar Panel) Mono-crystalline A-Grade (per Watt) (As per Approved Specifications) | 1 | Watt | 2400
99 | 26-01-m-01 | Supply and Erection of hot dipped (80 microns Average) galvanized steel of minimum thickness of 12 SWG / 2.64 mm Channel / Pipe or 8 SWG / 4.06 mm Angle | 1 | Watt | 2400
100 | 26-01-g-03 | Supply and Erection 1x6 sq.mm single core (XPLE/XPLO insulated/PCV sheathed) flexible copper cable | 1 | Rft | 75
101 | 26-01-n-02 | Supply and Erection of 1x1 ft 4mm Copper Earthing Plate | 1 | Watt | 2400
102 | 26-01-n-03 | Supply and Erection of Stainless Steel Nuts and Bolts | 1 | Watt | 2400
103 | 26-01-h-01 | Supply and Erection MC4 connector (TUV Approved) | 1 | Pair | 6
104 | 26-01-h-02 | Supply and Erection MC4 Branch connector | 1 | Pair | 10
105 | 26-01-k-02 | Supply installation and commissioning of DC Submersible (2HP (2000w), 50 meter head) | 1 | No | 1
I |  | BASE FOR SOLAR WATER PUMP
106 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) | 100 | Cft | 2
J |  | STREET WORKS
107 | 03-66-a | Roadway Excavation in Surplus / Unsuitable Common Material | 1000 | Cft | 840
108 | 06-02' | Dry rammed shingle brick ballast or stone ballast 1.5" to 2" guage | 100 | Cft | 280
109 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) | 100 | Cft | 560
K |  | DRAIN WORK (P.C.C)
110 | 06-05-h | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:3:6) | 100 | Cft | 100
L |  | BUILDING ELECTRICAL SOLAR WORKS:
111 | 26-01-b-01 | Supply and Erection PVC flexible pipe : 1" i/d (From Panel to Penel ) | 1 | Rft | 165
112 | 26-01-l-02 | Supply and Erection of DC CEILING FANS 48 inch 30-36 W (> 320 RPM with Speed Controller) | 1 | No. | 19
113 | 26-01-d-01 | Supply and Erection of Solar PV Module (Solar Panel) Mono-crystalline A-Grade (per Watt) (As per Approved Specifications) 4 no existing Panel will be used with new Panels | 1 | Watt | 2400
114 | 26-01-f-06 | Supply and Erection of Lithium LiFeP04 battery 6000 cycles & 5 Years Warranty per KWhr | 1 | KWhr | 5.4
115 | 26-01-g-01 | Supply and Erection 1x2.5 sq.mm flexible copper Cable | 1 | Rft | 2580
116 | 26-01-g-03 | Supply and Erection 1x6 sq.mm single core (XPLE/XPLO insulated/PCV sheathed) flexible copper cable | 1 | Rft | 730
117 | 26-01-h-01 | Supply and Erection MC4 connector (TUV Approved) | 1 | Pair | 6
118 | 26-01-h-02 | Supply and Erection MC4 Branch connector | 1 | Pair | 32
119 | 26-01-m-01 | Supply and Erection of hot dipped (80 microns Average) galvanized steel of minimum thickness of 12 SWG / 2.64 mm Channel / Pipe or 8 SWG / 4.06 mm Angle | 1 | Per Watt | 3040
120 | 26-01-o | Supply and Erection of BOX / STAND for Batteries SHS Inverter & Charge Controller | 1 | Watt | 3040
121 | 15-25 | Supply and Erection girder clamp hook, 5/8" dia.for hanging ceiling fans | 1 | Each | 19
122 | 15-127-c | Supply at site, installation, testing and commissioning of three gang light control switches 10 Amps,one way, including appropriate size concealed MS, powder coated back box, complete in all respects. | 1 | Each | 1
123 | 15-127-d | Supply at site, installation, testing and commissioning of 4 gang light control switches 10 Amps,one way, including appropriate size concealed MS, powder coated back box, complete in all respects. | 1 | Each | 3
124 | 15-127-f | Supply at site, installation, testing and commissioning of Six gang light control switches 10 Amps,one way, including appropriate size concealed MS, powder coated back box, complete in all respects. | 1 | Each | 6
M |  | CONDUITS & PIPES
123 | 15-02-a-02 | Supply and Erection PVC pipe for wiring purpose complete On surface including clamps etc: 3/4" i/d | 1 | Rft | 550
124 | 15-02-a-03 | Supply and Erection PVC pipe for wiring purpose complete On surface including clamps etc: 1" i/d (from Panels to Battery Box and Switch to First Point) | 1 | Rft | 600
125 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) (1'x1'x1') Foundation for Solar Panels Structure) | 100 | Cft | 28
Total Cost of Scheduled Items (Rs.)
Add 5% above on Scheduled Item for District Hangu (Rs.)
Total Cost of Scheduled Items (Rs.)
N |  | CIVIL WORKS NON-SCHEDULE
126 | NS-01 | Removal and disposing of plaster in complete all respect. | 1 | Sft | 1900
O |  | SOLAR WORKS NON-SCHEDULE
127 | NS-02 | Supply and Erection of DC ENERGY EFFICIENT LED LIGHT BULBS (12 W) | 1 | No. | 40
128 | NS-03 | Supply and Erection of PWM Solar Light Charge Controller (40/ 50 Amps, (12/24 V) with all sort of electronic protections | 1 | No. | 9
129 | NS-04 | Supply, installation, testing & commissioning of the DC Circuit Breakers with all mounting accessories Along with enclouser complete in all respect) 2P, 32-A Schneider or ABB | 1 | No | 18
Cost of Non-Scheduled Items (Rs.)
Total Cost of Scheduled Items & Non-Scheduled Items (Rs.)
| NOTE : | Follow the solar solution for each room
|  | 160 Watt Panel |  | 2
|  | 12V, 50/ 55Ah Battery |  | 1
|  | PWM Charge Controller |  | 1
|  | DC LED Bulb |  | 4
|  | DC Fan |  | 2
|  | DC Fan |  | 2
Site No. 18
RV School PSC-200 Kotkai, Hangu
A |  | BUILDING ELECTRICAL SOLAR WORKS
1 | 26-01-b-01 | Supply and Erection PVC flexible pipe : 1" i/d (From Panel to Penel ) | 1 | Rft | 165
2 | 26-01-l-02 | Supply and Erection of DC CEILING FANS 48 inch 30-36 W (> 320 RPM with Speed Controller) | 1 | No. | 18
3 | 26-01-d-01 | Supply and Erection of Solar PV Module (Solar Panel) Mono-crystalline A-Grade (per Watt) (As per Approved Specifications) 6 no existing Panel will be used with new Panels | 1 | Watt | 1920
4 | 26-01-f-06 | Supply and Erection of Lithium LiFeP04 battery 6000 cycles & 5 Years Warranty per KWhr | 1 | KWhr | 5.4
5 | 26-01-g-01 | Supply and Erection 1x2.5 sq.mm flexible copper Cable | 1 | Rft | 2322
6 | 26-01-g-03 | Supply and Erection 1x6 sq.mm single core (XPLE/XPLO insulated/PCV sheathed) flexible copper cable | 1 | Rft | 730
7 | 26-01-h-01 | Supply and Erection MC4 connector (TUV Approved) | 1 | Pair | 6
8 | 26-01-h-02 | Supply and Erection MC4 Branch connector | 1 | Pair | 32
9 | 26-01-m-01 | Supply and Erection of hot dipped (80 microns Average) galvanized steel of minimum thickness of 12 SWG / 2.64 mm Channel / Pipe or 8 SWG / 4.06 mm Angle | 1 | Per Watt | 3200
10 | 26-01-o | Supply and Erection of BOX / STAND for Batteries SHS Inverter & Charge Controller | 1 | Watt | 2800
11 | 15-25 | Supply and Erection girder clamp hook, 5/8" dia.for hanging ceiling fans | 1 | Each | 18
12 | 15-27-f | Supply at site, installation, testing and commissioning of Six gang light control switches 10 Amps,one way, including appropriate size concealed MS, powder coated back box, complete in all respects. | 1 | Each | 9
B |  | CONDUITS & PIPES
13 | 15-02-a-02 | Supply and Erection PVC pipe for wiring purpose complete On surface including clamps etc: 3/4" i/d | 1 | Rft | 495
14 | 15-02-a-03 | Supply and Erection PVC pipe for wiring purpose complete On surface including clamps etc: 1" i/d (from Panels to Battery Box and Switch to First Point and Earthing on Top roof)) | 1 | Rft | 540
15 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) (1'x1'x1') Foundation for Solar Panels Structure) | 100 | Cft | 28
Total Cost of Scheduled Items (Rs.)
Add 5% above on Scheduled Item for District Hangu (Rs.)
Total Cost of Scheduled Items (Rs.)
C |  | SOLAR WORKS NON*SCHEDULE
16 | NS-01 | Supply and Erection of DC ENERGY EFFICIENT LED LIGHT BULBS (12 W) | 1 | No. | 40
17 | NS-02 | Supply and Erection of PWM Solar Light Charge Controller (40/ 50 Amps, (12/24 V) with all sort of electronic protections | 1 | No. | 9
18 | NS-04 | Supply, installation, testing & commissioning of the DC Circuit Breakers with all mounting accessories Along with enclouser complete in all respect) 2P, 32-A ABB or Chint | 1 | No | 18
Cost of Non-Scheduled Items (Rs.)
Total Cost of Scheduled Items & Non-Scheduled Items (Rs.)
| NOTE : | Follow the solar solution for each room
|  | 160 Watt Panel |  | 2
|  | 12V, 50/ 55Ah Battery |  | 1
|  | PWM Charge Controller |  | 1
|  | DC LED Bulb |  | 4
|  | DC Fan |  | 2
Site No. 21
ALP (s) 18 Thall-1, Hangu
A |  | BUILDING ELECTRICAL SOLAR WORKS:
1 | 26-01-b-01 | Supply and Erection PVC flexible pipe : 1" i/d (From Panel to Penel ) | 1 | Rft | 15
2 | 26-01-l-02 | Supply and Erection of DC CEILING FANS 48 inch 30-36 W (> 320 RPM with Speed Controller) | 1 | No. | 2
3 | 26-01-d-01 | Supply and Erection of Solar PV Module (Solar Panel) Mono-crystalline A-Grade (per Watt) (As per Approved Specifications) 6 no existing Panel will be used with new Panels | 1 | Watt | 360
4 | 26-01-f-06 | Supply and Erection of Lithium LiFeP04 battery 6000 cycles & 5 Years Warranty per KWhr | 1 | KWhr | 1.2
5 | 26-01-g-01 | Supply and Erection 1x2.5 sq.mm flexible copper Cable | 1 | Rft | 258
6 | 26-01-g-03 | Supply and Erection 1x6 sq.mm single core (XPLE/XPLO insulated/PCV sheathed) flexible copper cable | 1 | Rft | 70
7 | 26-01-h-01 | Supply and Erection MC4 connector (TUV Approved) | 1 | Pair | 1
8 | 26-01-h-02 | Supply and Erection MC4 Branch connector | 1 | Pair | 4
9 | 26-01-m-01 | Supply and Erection of hot dipped (80 microns Average) galvanized steel of minimum thickness of 12 SWG / 2.64 mm Channel / Pipe or 8 SWG / 4.06 mm Angle | 1 | Per Watt | 360
10 | 26-01-o | Supply and Erection of BOX / STAND for Batteries SHS Inverter & Charge Controller | 1 | Watt | 360
11 | 15-25 | Supply and Erection girder clamp hook, 5/8" dia.for hanging ceiling fans | 1 | Each | 2
12 | 15-27-f | Supply at site, installation, testing and commissioning of Six gang light control switches 10 Amps,one way, including appropriate size concealed MS, powder coated back box, complete in all respects. | 1 | Each | 1
B |  | CONDUITS & PIPES
13 | 15-02-a-02 | Supply and Erection PVC pipe for wiring purpose complete On surface including clamps etc: 3/4" i/d | 1 | Rft | 55
14 | 15-02-a-03 | Supply and Erection PVC pipe for wiring purpose complete On surface including clamps etc: 1" i/d (from Panels to Battery Box and Switch to First Point) | 1 | Rft | 45
15 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) (1'x1'x1') Foundation for Solar Panels Structure) | 100 | Cft | 4
Total Cost of Scheduled Items (Rs.)
Add 5% above on Scheduled Item for District Hangu (Rs.)
Total Cost of Scheduled Items (Rs.)
Non Schedule Items
C |  | BUILDING ELECTRICAL SOLAR WORKS:
16 | NS-01 | Supply and Erection of DC ENERGY EFFICIENT LED LIGHT BULBS (12 W) | 1 | No. | 4
17 | NS-02 | Supply and Erection of PWM Solar Light Charge Controller (40/ 50 Amps, (12/24 V) with all sort of electronic protections | 1 | No. | 1
18 | NS-03 | Supply, installation, testing & commissioning of the DC Circuit Breakers with all mounting accessories Along with enclouser complete in all respect) 2P, 32-A ABB or Chint | 1 | No | 2
Cost of Non-Scheduled Items (Rs.)
Total Cost of Scheduled Items & Non-Scheduled Items (Rs.)
| NOTE : | Follow the solar solution for 1 ALP room
|  | 180 Watt Panel |  | 2
|  | 12V, 100Ah Battery |  | 1
|  | PWM Charge Controller |  | 1
|  | DC LED Bulb |  | 4
|  | DC Fan |  | 2
Site No. 22
ALP (s) 19 Thall-2, Hangu
A |  | BUILDING ELECTRICAL SOLAR WORKS:
1 | 26-01-b-01 | Supply and Erection PVC flexible pipe : 1" i/d (From Panel to Penel ) | 1 | Rft | 15
2 | 26-01-l-02 | Supply and Erection of DC CEILING FANS 48 inch 30-36 W (> 320 RPM with Speed Controller) | 1 | No. | 2
3 | 26-01-d-01 | Supply and Erection of Solar PV Module (Solar Panel) Mono-crystalline A-Grade (per Watt) (As per Approved Specifications) 6 no existing Panel will be used with new Panels | 1 | Watt | 360
4 | 26-01-f-06 | Supply and Erection of Lithium LiFeP04 battery 6000 cycles & 5 Years Warranty per KWhr | 1 | KWhr | 1.2
5 | 26-01-g-01 | Supply and Erection 1x2.5 sq.mm flexible copper Cable | 1 | Rft | 258
6 | 26-01-g-03 | Supply and Erection 1x6 sq.mm single core (XPLE/XPLO insulated/PCV sheathed) flexible copper cable | 1 | Rft | 70
7 | 26-01-h-01 | Supply and Erection MC4 connector (TUV Approved) | 1 | Pair | 1
8 | 26-01-h-02 | Supply and Erection MC4 Branch connector | 1 | Pair | 4
9 | 26-01-m-01 | Supply and Erection of hot dipped (80 microns Average) galvanized steel of minimum thickness of 12 SWG / 2.64 mm Channel / Pipe or 8 SWG / 4.06 mm Angle | 1 | Per Watt | 360
10 | 26-01-o | Supply and Erection of BOX / STAND for Batteries SHS Inverter & Charge Controller | 1 | Watt | 360
11 | 15-25 | Supply and Erection girder clamp hook, 5/8" dia.for hanging ceiling fans | 1 | Each | 2
12 | 15-27-f | Supply at site, installation, testing and commissioning of Six gang light control switches 10 Amps,one way, including appropriate size concealed MS, powder coated back box, complete in all respects. | 1 | Each | 1
B |  | CONDUITS & PIPES
13 | 15-02-a-02 | Supply and Erection PVC pipe for wiring purpose complete On surface including clamps etc: 3/4" i/d | 1 | Rft | 55
14 | 15-02-a-03 | Supply and Erection PVC pipe for wiring purpose complete On surface including clamps etc: 1" i/d (from Panels to Battery Box and Switch to First Point) | 1 | Rft | 45
15 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) (1'x1'x1') Foundation for Solar Panels Structure) | 100 | Cft | 4
Total Cost of Scheduled Items (Rs.)
Add 5% above on Scheduled Item for District Hangu (Rs.)
Total Cost of Scheduled Items (Rs.)
C |  | SOLAR WORKS NON-SCHEDULE
16 | NS-01 | Supply and Erection of DC ENERGY EFFICIENT LED LIGHT BULBS (12 W) | 1 | No. | 4
17 | NS-02 | Supply and Erection of PWM Solar Light Charge Controller (40/ 50 Amps, (12/24 V) with all sort of electronic protections | 1 | No. | 1
18 | NS-04 | Supply, installation, testing & commissioning of the DC Circuit Breakers with all mounting accessories Along with enclouser complete in all respect) 2P, 32-A ABB or Chint | 1 | No | 2
Cost of Non-Scheduled Items (Rs.)
Total Cost of Scheduled Items & Non-Scheduled Items (Rs.)
| NOTE : | Follow the solar solution for 1 ALP room
|  | 180 Watt Panel |  | 2
|  | 12V, 100Ah Battery |  | 1
|  | PWM Charge Controller |  | 1
|  | DC LED Bulb |  | 4
|  | DC Fan |  | 2