## Weaving Center,Civil
UNHCR PAKISTAN
CONSTRUCTION OF PREFABRICATED COOPERATIVE MODEL (WEAVING CENTER) IN KP
ENGINEER'S ESTIMATE
CIVIL WORKS
ITEM NO. | KPK MRS 2022 REF. NO. / NS (2nd BI ANNUAL) | DESCRIPTION | UNIT |  | QTY | UNIT RATE (Rs.) | TOTAL AMOUNT (Rs.)
(a) | (b) | (c) | (d) |  | (e) | (f) | (g)
SCHEDULED ITEMS
A. |  | CIVIL WORKS PREFABRICATED WEAVING HALL
EARTHWORK (EXCAVATION AND EMBANKMENT)
1 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 3580 |  | 0
2 | 03-18-d | Filling, watering and ramming earth under floor with earth excavated from outside lead upto 30m | 1000 | Cft | 5920 |  | 0
3 | 03-19-a | Extra for every 15 m extra lead or part thereof for earthwork soft, ordinary, hard & very hard (for 16 No. of trip) (apply 169.32 x No. of Trip) | 1000 | Cft | 2660 |  | 0
4 | 03-20-a | Transportation of earth all types beyond 250 m and upto 500 m. | 1000 | Cft | 3260 |  | 0
5 | 03-25-b | Excavation in foundation of building, bridges etc complete: in ordinary soil. | 1000 | Cft | 6560 |  | 0
CONCRETE
6 | 06-02 | Dry rammed shingle brick ballast or stone ballast 1.5" to 2" gauge | 100 | Cft. | 2270 |  | 0
7 | 06-05-h | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:3:6) | 100 | Cft. | 1440 |  | 0
8 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100 | Cft. | 2270 |  | 0
9 | 06-07-a-03 | RCC in roof slab, beam, column & other structural members, insitu or precast. (1:2:4) | 100 | Cft. | 880 |  | 0
10 | 06-08-b | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 60) | 100 | Kg | 1850 |  | 0
11 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | Kg | 880 |  | 0
12 | 6-46-a | Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape -Position / Horizontal | 100 | Sft. | 200 |  | 0
13 | 6-46-b | Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape - Position / Vertical | 100 | Sft. | 2170 |  | 0
BRICK MASONRY
14 | 07-04-a-04 | 1st class brick work in foundation and plinth in Cement, sand mortar 1:5 | 100 | Cft. | 3180 |  | 0
FLOORING
15 | 07-30' | Supplying and filling sand under floor or plugging in wells | 100 | Cft. | 480 |  | 0
16 | 10-26-e | Providing and Laying marble fine dressed stone 4-5 feet and 12" wide 1" thick for stairs steps | 100 | Sft. | 60 |  | 0
17 | 10-38-a | Providing and Laying 1" Thick Super White Marble Slab Exceeding 12"x12" size Kitchen Top in White Cement including all labour for Grinding and Polishing. | 1 | Sft. | 180 |  | 0
18 | 10-44 | Providing and laying 1/2" thick marble in dado / skirting with matching colour mortar in joints set over 1/2" thick rough cast 1:4 cement sand plaster.Ground Floor | 100 | Sft. | 150 |  | 0
19 | 10-58-c | Providing and Fixing of porcelain full body tiles 20" × 20" × 3/8 of approved colour of shade, joint using spacers in whitecement with pigment laid on base of CM 1:2 etc complete in all respects | 100 | Sft. | 7250 |  | 0
SURFACE RENDERING
20 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft. | 870 |  | 0
WOOD WORK, WOODEN
21 | 12-47 | Supply and Fixing accoustic mineral fibre tile ceiling fixed with aluminium tee hung by GI wire fixed in roof. | 100 | Sft | 6600 |  | 0
22 | 12-78-a | Kitchen Floor Cabinet as per approved Design/Specification. | 1 | Sft. | 110 |  | 0
23 | 12-78-b | Kitchen Wall Cabinet as per approved Design/Specification. | 1 | Sft. | 120 |  | 0
PAINTING AND VARNISHING
24 | 13-08-a | Bitumen coating to plastered / cement concrete surface : 20 Ibs. per 100 sft. | 100 | Sft. | 230 |  | 0
25 | 13-25-a | Preparing surface & painting with snowcem / weather shield paint: upto 20' height First coat | 100 | Sft. | 870 |  | 0
26 | 13-25-b | Preparing surface & painting with snowcem / weather shield paint: upto 20' height 2nd & subsequent coats. | 100 | Sft. | 1740 |  | 0
MISCELLANEOUS
27 | 28-15 | Pre anti Termite Treatment in the building mixed with water of mixing ratio as per the manufacturer's certified manual | 100 | Sft | 14670 |  | 0
28 | 28-18 | Providing and fixing with steel nails and washers,the chicken wire mesh of approved quality, at joint of concrete and masonry work (4" wide strip)before plastering etc complete. | 1 | Sft | 90 |  | 0
B. |  | CIVIL WORKS PREFABRICATED TOILET BLOCK
EARTHWORK (EXCAVATION AND EMBANKMENT)
29 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 65 |  | 0
30 | 03-25-b | Excavation in foundation of building, bridges etc complete: in ordinary soil. | 1000 | Cft | 170 |  | 0
CONCRETE
31 | 06-02 | Dry rammed shingle brick ballast or stone ballast 1.5" to 2" gauge | 100 | Cft. | 10 |  | 0
32 | 06-05-h | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:3:6) | 100 | Cft. | 60 |  | 0
33 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100 | Cft. | 10 |  | 0
34 | 06-07-a-03 | RCC in roof slab, beam, column & other structural members, insitu or precast. (1:2:4) | 100 | Cft. | 25 |  | 0
35 | 06-08-b | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 60) | 100 | Kg | 90 |  | 0
36 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | Kg | 40 |  | 0
37 | 6-46-b | Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape - Position / Vertical | 100 | Sft. | 40 |  | 0
BRICK MASONRY
38 | 07-04-a-04 | 1st class brick work in foundation and plinth in Cement, sand mortar 1:5 | 100 | Cft. | 90 |  | 0
FLOORING
39 | 07-30' | Supplying and filling sand under floor or plugging in wells | 100 | Cft. | 30 |  | 0
39 | 10-58-c | Providing and Fixing of porcelain full body tiles 20" × 20" × 3/8 of approved colour of shade, joint using spacers in whitecement with pigment laid on base of CM 1:2 etc complete in all respects | 100 | Sft. | 50 |  | 0
SURFACE RENDERING
40 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft. | 80 |  | 0
PAINTING AND VARNISHING
41 | 13-08-a | Bitumen coating to plastered / cement concrete surface : 20 Ibs. per 100 sft. | 100 | Sft. | 30 |  | 0
42 | 13-25-a | Preparing surface & painting with snowcem / weather shield paint: upto 20' height First coat | 100 | Sft. | 80 |  | 0
43 | 13-25-b | Preparing surface & painting with snowcem / weather shield paint: upto 20' height 2nd & subsequent coats. | 100 | Sft. | 160 |  | 0
MISCELLANEOUS
44 | 28-15 | Pre anti Termite Treatment in the building mixed with water of mixing ratio as per the manufacturer's certified manual | 100 | Sft | 265 |  | 0
45 | 28-18 | Providing and fixing with steel nails and washers,the chicken wire mesh of approved quality, at joint of concrete and masonry work (4" wide strip)before plastering etc complete. | 1 | Sft | 10 |  | 0
C. |  | CIVIL WORKS PREFABRICATED ELECTRICAL ROOM
EARTHWORK (EXCAVATION AND EMBANKMENT)
46 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 250 |  | 0
47 | 03-25-b | Excavation in foundation of building, bridges etc complete: in ordinary soil. | 1000 | Cft | 380 |  | 0
CONCRETE
48 | 06-02 | Dry rammed shingle brick ballast or stone ballast 1.5" to 2" gauge | 100 | Cft. | 80 |  | 0
49 | 06-05-h | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:3:6) | 100 | Cft. | 100 |  | 0
50 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100 | Cft. | 80 |  | 0
51 | 06-07-a-03 | RCC in roof slab, beam, column & other structural members, insitu or precast. (1:2:4) | 100 | Cft. | 50 |  | 0
52 | 06-08-b | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 60) | 100 | Kg | 110 |  | 0
53 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | Kg | 50 |  | 0
54 | 6-46-b | Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape - Position / Vertical | 100 | Sft. | 60 |  | 0
BRICK MASONRY
55 | 07-04-a-04 | 1st class brick work in foundation and plinth in Cement, sand mortar 1:5 | 100 | Cft. | 170 |  | 0
FLOORING
56 | 07-30' | Supplying and filling sand under floor or plugging in wells | 100 | Cft. | 75 |  | 0
56 | 10-58-c | Providing and Fixing of porcelain full body tiles 20" × 20" × 3/8 of approved colour of shade, joint using spacers in whitecement with pigment laid on base of CM 1:2 etc complete in all respects | 100 | Sft. | 150 |  | 0
SURFACE RENDERING
57 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft. | 160 |  | 0
58 | 12-47 | Supply and Fixing accoustic mineral fibre tile ceiling fixed with aluminium tee hung by GI wire fixed in roof. | 100 | Sft | 150 |  | 0
PAINTING AND VARNISHING
59 | 13-08-a | Bitumen coating to plastered / cement concrete surface : 20 Ibs. per 100 sft. | 100 | Sft. | 45 |  | 0
60 | 13-25-a | Preparing surface & painting with snowcem / weather shield paint: upto 20' height First coat | 100 | Sft. | 160 |  | 0
61 | 13-25-b | Preparing surface & painting with snowcem / weather shield paint: upto 20' height 2nd & subsequent coats. | 100 | Sft. | 320 |  | 0
MISCELLANEOUS
62 | 28-15 | Pre anti Termite Treatment in the building mixed with water of mixing ratio as per the manufacturer's certified manual | 100 | Sft | 690 |  | 0
63 | 28-18 | Providing and fixing with steel nails and washers,the chicken wire mesh of approved quality, at joint of concrete and masonry work (4" wide strip)before plastering etc complete. | 1 | Sft | 15 |  | 0
D. |  | CIVIL WORK GUARD ROOM
EARTHWORK (EXCAVATION AND EMBANKMENT)
64 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 190 |  | 0
65 | 03-25-b | Excavation in foundation of building, bridges etc complete: in ordinary soil. | 1000 | Cft | 350 |  | 0
CONCRETE
66 | 06-02 | Dry rammed shingle brick ballast or stone ballast 1.5" to 2" gauge | 100 | Cft. | 40 |  | 0
67 | 06-05-h | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:3:6) | 100 | Cft. | 90 |  | 0
68 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100 | Cft. | 40 |  | 0
69 | 06-07-a-03 | RCC in roof slab, beam, column & other structural members, insitu or precast. (1:2:4) | 100 | Cft. | 150 |  | 0
70 | 06-08-b | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 60) | 100 | Kg | 90 |  | 0
71 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | Kg | 260 |  | 0
72 | 6-46-a | Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape -Position / Horizontal. | 100 | Sft. | 160 |  | 0
73 | 6-46-b | Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape - Position / Vertical | 100 | Sft. | 210 |  | 0
BRICK MASONRY
74 | 07-04-a-04 | 1st class brick work in foundation and plinth in Cement, sand mortar 1:5 | 100 | Cft. | 170 |  | 0
75 | 07-05-a-04 | 1st class brick work in ground floor Cement, sand mortar 1:5 | 100 | Cft. | 380 |  | 0
ROOFING
76 | 09-11-a | Earth filling over roof including watering, ramming etc 3" thick earth filling and 1" mud plaster | 100 | Sft. | 185 |  | 0
77 | 09-16 | Khuras on roof 2'x2'x6" | 1 | Each | 1 |  | 0
FLOORING
78 | 10-12+ 10-18 | Brick tiles (9"x4.5"x1.5") laid flat in 1:3 c/s mortar over a bed of 3/4" thick cement mortar 1:6 | 100 | Sft. | 185 |  | 0
79 | 10-58-c | Providing and Fixing of porcelain full body tiles 20" × 20" × 3/8 of approved colour of shade, joint using spacers in whitecement with pigment laid on base of CM 1:2 etc complete in all respects | 100 | Sft. | 125 |  | 0
SURFACE RENDERING
80 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft. | 1120 |  | 0
81 | 11-10-c | Cement plaster 3/8" thick under soffit of RCC roof slabs only upto 20' height : (1:4) | 100 | Sft. | 170 |  | 0
WOOD WORK, WOODEN / ALUMINIUM JOINERY
82 | 12-64-c-05 | Supply and Fixing aluminium door/window, Fly Screen Shutter Premium model (2.00 mm gauge) 2" section | 1 | Sft. | 20 |  | 0
83 | 12-65-a-06 | Supply and Fixing aluminium door/window, Sliding Window Premium model (2.00 mm gauge) 4" section | 1 | Sft. | 40 |  | 0
PAINTING AND VARNISHING
84 | 11-20-a | Priming coat of chalk under distemper | 100 | Sft. | 120 |  | 0
85 | 11-20-b | Providing and applying wall putty of 2mm thickness over plastered surface to prepare the surface even and smooth complete. | 100 | Sft. | 120 |  | 0
86 | 11-21-a-03 | Distempering New surface : Three coats | 100 | Sft. | 120 |  | 0
87 | 13-22-a | Preparing surface and painting with emulsion paint : upto 20' height First coat. | 100 | Sft. | 425 |  | 0
88 | 13-22-b | Preparing surface and painting with emulsion paint : upto 20' height 2nd & each subsequent coat. (two coats) | 100 | Sft. | 850 |  | 0
89 | 13-25-a | Preparing surface & painting with snowcem / weather shield paint: upto 20' height First coat | 100 | Sft. | 750 |  | 0
90 | 13-25-b | Preparing surface & painting with snowcem / weather shield paint: upto 20' height 2nd & subsequent coats. | 100 | Sft. | 1500 |  | 0
91 | 14-97 | Supply of 150 Micron Polythene sheet of approved quality | 1 | Kg | 4 |  | 0
92 | 15-02-a-08 | Supply and Fixing PVC pipe for draining rain water (from roof) complete On surface including clamps etc: 4" i/d | 1 | Rft | 14 |  | 0
IRON WORK
93 | 12-70-a | Supply and Fixing MS Sheet 16 guage(10'' x 2'') box type chowkats including fixing in position with all charges for Hold fast, Hinges and Painting etc | 1 | Rft | 17 |  | 0
94 | 25-45-a | Supplying and Fixing 18 SWG MS Sheet Door with angle iron frame (1.5"x1.5"x1/8"), bolt, hinges, paint etc complete | 1 | Sft | 21 |  | 0
MISCELLANEOUS
95 | 28-15 | Pre anti Termite Treatment in the building mixed with water of mixing ratio as per the manufacturer's certified manual | 100 | Sft | 350 |  | 0
96 | 28-18 | Providing and fixing with steel nails and washers,the chicken wire mesh of approved quality, at joint of concrete and masonry work (4" wide strip)before plastering etc complete. | 1 | Sft | 110 |  | 0
E. |  | CIVIL WORKS- EXTERNAL SEWERAGE (SOAKAGE PIT, SEPTIC TANK)
EARTHWORK (EXCAVATION AND EMBANKMENT)
97 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 150 |  | 0
98 | 03-49-a | Excavation in open cut for sewers & manhole except shingle, gravel & rock : Upto 2m | 1000 | Cft | 665 |  | 0
CONCRETE
99 | 06-05-i | Plain Cement Concrete inluding placing, compacting, finishing and curing ( Ratio 1:4:8) | 100 | Cft | 25 |  | 0
100 | 06-07-a-03 | RCC in roof slab, beam, column & other structural members, insitu or precast. (1:2:4) | 100 | Cft | 280 |  | 0
101 | 06-07-b-03 | RCC in raft foundation slab, base slab of column & ret. wall etc, not including in 06-06. (1:2:4) | 100 | Cft | 70 |  | 0
102 | 06-08-b | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 60) | 100 | Kg | 720 |  | 0
103 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | Kg | 420 |  | 0
104 | 6-46-a | Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape -Position / Horizontal | 100 | Sft. | 80 |  | 0
105 | 6-46-b | Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape - Position / Vertical | 100 | Sft. | 635 |  | 0
BRICK MASONRY
106 | 07-04-a-04 | 1st class brick work in foundation and plinth in Cement, sand mortar 1:5 | 100 | Cft. | 50 |  | 0
107 | 07-10 | Extra for 1st class brick work in steining of wells or any other circular masonry. | 100 | Cft. | 50 |  | 0
SURFACE RENDERING
108 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft. | 150 |  | 0
109 | 13-08-a | Bitumen coating to plastered / cement concrete surface : 20 Ibs. per 100 sft. | 100 | Sft. | 600 |  | 0
PLUMBING
110 | 14-37-c | Supply and Fixing cast iron (CI) manhole cover with frame etc (Heavey Type) of approved quality complete: 24" (610 mm) dia | 1 | Each | 3 |  | 0
111 | 14-155 | Galvanised MS ladder rings 3/4" dia inside and outside water tanks; Each rung of 12" width, 6" projected outside the wall and 6" embeded in RCC on both ends; including all necessary works for complete installation. | 1 | kg | 35 |  | 0
PROTECTION & DIVERSION
112 | 19-15-c | Supply & dump at site, without boat, including handling within 100m : Brick bats | 100 | Cft | 85 |  | 0
SINKING OF WELLS
113 | 21-01-a-01 | Excavate well in dry & dispose of soil within 50m in ordinary soil or sand : 0' (0 m) Upto 5' (1.5 m) depth | 100 | Cft | 270 |  | 0
114 | 21-01-a-02 | Excavate well in dry & dispose of soil within 50m in ordinary soil or sand :From 5.1' to 10' (1.530 m to 3.000 m) depth | 100 | Cft | 270 |  | 0
115 | 21-01-a-03 | Excavate well in dry & dispose of soil within 50m in ordinary soil or sand :From 10.1' to 15' (3.030 m to 4.500 m) depth | 100 | Cft | 270 |  | 0
116 | 21-01-a-04 | Excavate well in dry & dispose of soil within 50m in ordinary soil or sand : From 15.1' to 20' (4.530m to 6.000 m) depth | 100 | Cft | 270 |  | 0
F. |  | SOLAR WATER PUMP
117 | 24-41 | Conducting Elec: Resistivity survey of the area and furnishing its reports. | 1 | No | 1 |  | 0
118 | 24-05 | Collection and submission at approved water testing laboratory of two water samples in bottles from each bore hole for testing | 1 | Per Set | 1 |  | 0
119 | 24-02-a-05 | Drilling of Bore holes for tube well in all types of soil and soft rock except hard rock from ground level upto 328 ft depth(0m to 100m), including sinking, collection of 100 % corings and withdrawing of pipe, complete as per specifications.: Dia of Bore 7'' to 9" (200 mm) i/d | 1 | Rft | 120 |  | 0
120 | 24-18-a-04 | Providing, laying, cutting, jointing, testing and disinfecting UPVC pressure pipeline in trenches (conforming to BS 3505 manufactured ) jointed with socket, elbow, tee, bend and plug bend etc.manufactured by the respective manufacturer complete as per specifications UPVC Pressure Pipes Class B (6 Bar) except excavation. 6" Nominal Pipe Size (NPS) | 1 | Rft | 60 |  | 0
121 | 24-09-a-01 | Providing and installing PVC Strainer BSS Class "B" of approved make \ quality in tubewell bore hole, including socket, special sockets, studs etc. complete as per specification:- 6" Nominal Pipe Size (NPS) (150mm) | 1 | Rft | 40 |  | 0
122 | 24-10-d-01 | Providing and installing PVC bail plug in tubewell BSS Class 'D' working pressure : 6"Nominal Pipe Size (NPS) (150 mm) | 1 | Each | 1 |  | 0
123 | 24-18-d-02 | Providing, laying, cutting, jointing, testing and disinfecting UPVC pressure pipeline in trenches (conforming to BS 3505manufactured ) jointed with socket, elbow, tee, bend and plug bend etc.manufactured by the respectivemanufacturer complete as per specifications uPVC Pressure Pipes Class E (15 Bar) except excavation. 1"Nominal Pipe Size (NPS) | 1 | Rft | 100 |  | 0
124 | 24-14 | Shrouding with graded pack gravel 3/8" (10 mm) to 1/8" (3 mm) around tubewell in bore hole complete as per specification:- | 1 | Rft | 100 |  | 0
125 | 26-01-d-01 | Supply and Erection of Solar PV Module (Solar Panel) Mono-crystalline A-Grade (per Watt) (As per Approved Specifications) | 1 | Watt | 2400 |  | 0
126 | 26-01-m-01 | Supply and Erection of hot dipped (80 microns Average) galvanized steel of minimum thickness of 12 SWG / 2.64 mm Channel / Pipe or 8 SWG / 4.06 mm Angle | 1 | Watt | 2400 |  | 0
127 | 26-01-g-03 | Supply and Erection 1x6 sq.mm single core (XPLE/XPLO insulated/PCV sheathed) flexible copper cable | 1 | Rft | 75 |  | 0
128 | 26-01-n-02 | Supply and Erection of 1x1 ft 4mm Copper Earthing Plate | 1 | Watt | 2400 |  | 0
129 | 26-01-n-03 | Supply and Erection of Stainless Steel Nuts and Bolts | 1 | Watt | 2400 |  | 0
130 | 26-01-h-01 | Supply and Erection MC4 connector (TUV Approved) | 1 | Pair | 6 |  | 0
131 | 26-01-h-02 | Supply and Erection MC4 Branch connector | 1 | Pair | 10 |  | 0
132 | 26-01-k-02 | Supply installation and commissioning of DC Submersible (2HP (2000w), 50 meter head) | 1 | No | 1 |  | 0
Base for Solar water Pump
133 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) | 100 | Cft | 2 |  | 0
G. |  | BOUNDARY WALL & GATE
134 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc. | 1000 | Cft | 880 |  | 0
135 | 03-25-b | Excavation in foundation of building, bridges etc complete : in ordinary soil. | 1000 | Cft | 2400 |  | 0
136 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100 | Cft. | 355 |  | 0
137 | 06-07-a-03 | RCC in roof slab, beam, column & other structural members, insitu or precast. (1:2:4) | 100 | Cft. | 1395 |  | 0
138 | 06-07-b-03 | RCC in raft foundation slab, base slab of column & ret. wall etc, not including in 06-06. (1:2:4) | 100 | Cft | 460 |  | 0
139 | 06-08-b | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 60) | 100 | Kg | 6500 |  | 0
140 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 | Kg | 2840 |  | 0
141 | 6-46-a | Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape -Position / Horizontal | 100 | Sft. | 250 |  | 0
142 | 6-46-b | Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape - Position / Vertical | 100 | Sft. | 4625 |  | 0
143 | 07-05-a-04 | 1st class brick work in ground floor Cement, sand mortar 1:5 | 100 | Cft. | 1750 |  | 0
144 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 | Sft | 5340 |  | 0
145 | 11-18-b | Cement pointing struck joints, on walls, upto 20' height : Ratio 1:3 | 100 | Sft. | 2335 |  | 0
146 | 11-29 | Extra cost of labour & material for red oxide pigment in cement pointing to match bricks | 100 | Sft. | 2335 |  | 0
147 | 13-08-a | Bitumen coating to plastered / cement concrete surface : 20 Ibs. per 100 sft. | 100 | Sft. | 4575 |  | 0
148 | 13-25-a | Preparing surface & painting with snowcem / weather shield paint: upto 20' height First coat | 100 | Sft. | 5340 |  | 0
149 | 13-25-b | Preparing surface & painting with snowcem / weather shield paint: upto 20' height 2nd & subsequent coats. | 100 | Sft. | 10680 |  | 0
150 | 25-45-b | Supplying and Fixing 18 SWG MS Sheet Gate with angle iron frame (2"x2"x3/16") with side window, lock, painting etc.(15'x7') 1 No. & 2 No. (4'x7') | 1 | Sft | 161 |  | 0
151 | 25-60-a | Supply and fixing razor wire (2'-0" dia) consisting of 1-1/2"X1-1/2"X3/16" angle iron Y post 2'-6" long 6' to 8' center to center embedded in concrete block of size 3"X9"X6" (PCC 1:2:4), at top of boundary wall including painting posts etc. Complete in all respects. | 1 | Rft | 580 |  | 0
152 | 28-18 | Providing and fixing with steel nails and washers,the chicken wire mesh of approved quality, at joint of concrete and masonry work (4" wide strip)before plastering etc complete. | 1 | Sft | 535 |  | 0
H |  | TUFF TILES
153 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100 | Cft. | 4230 |  | 0
154 | 10-49-d | Providing and Fixing Precast Concrete 7000 psi TUFF Tiles 80mm thick over bed of 2" thick sand | 100 | Sft | 12700 |  | 0
Total Cost of Scheduled Items (Rs.) | [6 empty] | 0
NON-SCHEDULED ITEMS
GENERAL NOTE
Supply, installation, testing and commissioning of the following items of work, including all labour, tools, plant, accessories, etc. required for completion of each item as per specifications and as approved by the Engineer.
STRUCTURAL STEEL WORKS
Ref. Spec. No. 3000, 6700
155 | NS-01 | Providing, installation and fixing in poition prefabricated offices composed of Fire-safe PIR sandwich panels (3" / 75mm thick) of 40Kg/m3 density with supporting system, fittings/fixing accessories, insulated single/double leaf doors of sandwich panel/aluminum, aluminum windows with 5 mm tempered glass as per design and drawings. (Covered Area from wall to wall to be measured for payment). (Note: The Contractor will provide shop drawings and design calculations of the offered prefabricated office for wind speed of 150 km/hr as per Pakistan Building Code for approval of the Engineer before initiation of work at Site). | 1 | Sft | 7630 |  | 0
BRICK MASONRY
Ref .Spec . No . 4200
156 | NS-02 | Pacca Dry brick work in soakage well | 1 | Cft. | 315 |  | 0
| . | FALSE CEILING
Ref. Spec. No. 6560
157 | NS-03 | 2' x 2' Aluminum perforated false ceiling of approved type & manufacturer and with approved adjustable suspension system at any floor at any height.(Toilets) | 1 | Sft | 700 |  | 0
Cost of Non-Scheduled Items (Rs.) | [6 empty] | 0
Total Cost of Scheduled Items & Non-Scheduled Items (Rs.) | [6 empty] | 0