## BOQs
ANNEX D: FINANCIAL OFFER FORM
CONSTRUCTION OF PREFABRICATED SERVER ROOM, MOSQUE AND CANTEEN AT UNHCR VRC AZAKHEL, NOWSHERA
BILL OF QUANTITY
A.ICT SERVER ROOM
Civil Works:
S. No. | DESCRIPTION | UNIT | QTY | UNIT RATE (Rs.) | TOTAL AMOUNT (Rs.)
PLAIN AND REINFORCED CONCRETE
1 | Dismantling of existing floor tough tiles for the flooring of Prefabricated office rooms | Sft | 450 |  | 0
2 | Excavation | Cft | 250 |  | 0
3 | Providing and laying Concrete Class 'E' laid under floors and in plinth protections including toe. | Cft | 480 |  | 0
4 | Class 'C' Reinforced Cement Concrete (minimum mix 1:2:4) using ordinary Portland Cement in plinth beams. | Cft | 100 |  | 0
REINFORCEMENT
5 | Mild Steel Deformed round bars Grade 40. | Kg | 200 |  | 0
FLOOR & WALL FINISHES
6 | Providing and fixing porcelain tiles (of approved colour/shade/texture) upto 4 Sft. in size on floors laid in pattern, jointed in 1:3 cement sand mortar and grouted with white/coloured cement using imported pigments, including laser cutting, over and including 1:3 cement sand mortar base, complete at any floor at any height. | Sft | 432 |  | 0
FALSE CEILING
7 | Supply and Fixing accoustic mineral fibre tile ceiling fixed with approved GI adjustable suspension system, aluminium tee etc. at any floor at any height. | Sft | 432 |  | 0
STRUCTURAL STEEL WORKS
8 | Providing, installation and fixing in poition prefabricated offices composed of Fire-safe PIR sandwich panels (3" / 80mm thick) of 40Kg/m3 density with supporting system, fittings/fixing accessories, insulated single leaf door, aluminum windows with 6mm tempered glass as per design and drawings (9 No. offices, Covered Area to be measured for payment). (Note: The Contractor will provide shop drawigs and design calculations of the offered prefabricated office for approval of the Engineer before initiation of work at Site). | Sft | 1758 |  | 0
Electrical Works:
LT CABLES
8 | 6 sqmm,3 core CU/PVC/PVC stranded copper conductor cable, 600/1000V grade in already installed conduit/on cable tray | Rft | 300 |  | 0
LIGHT FIXTURES
9 | 2' x 2', 40 watts LED Smart Panel with integrated driver and frosted glass diffuser | No. | 16 |  | 0
10 | 7W Recessed/Celing Mounted LED downlight anti glare of warm / white color with builtin integrated driver and frosted glass diffuser. | No. | 6 |  | 0
WIRING IN CONCEALED CONDUITS
11 | Wiring of light circuit from Distribution Board to switch, including circuit wiring between switches on the same circuit with Two nos. single core 2.5 Sqmm and One no.1.5 sq mm PVC insulated 300/500 Volts grade stranded copper conductor cablesin concealed 3/4" PVC conduit laid including PVC conduit,or Dura Duct including accessories, etc. complete in all respects. | No. | 1 |  | 0
12 | Wiring from switch to light or fan point with 3 Nos. single core 1.5 Sqmm PVC insulated 300/500 Volts grade stranded copper conductor cablesin concealed 3/4" PVC conduit laid including PVC conduit,or Dura Duct including accessories, etc. complete in all respects. | No. | 12 |  | 0
13 | Wiring of circuit from Distribution Board to 13/16 A , 230 Volts, 3 pin switched socket outlet with Two nos. single core 4 sqmm and One no. 2.5 sqmm PVC insulated 450/750 Volts grade stranded copper conductor cables in concealed 3/4" PVC conduit laid including PVC conduit,or Dura Duct including accessories, etc. complete in all respects. | No. | 4 |  | 0
14 | Wiring from 13 Amps, 3 pin socket to socket with Two nos. single core 2.5 Sqmm and One no. 1.5 sq mm PVC insulated 450/750 Volts grade stranded copper conductor cablesin concealed 3/4" PVC conduit laid including PVC conduit,or Dura Duct including accessories, etc. complete in all respects. | No. | 4 |  | 0
15 | Wiring of circuit from distribution board to 20A, 230 Volts, 3 Pin switched socket outlet with 2 Nos. one core 4 Sqmm and One no. 2.5 sq mm PVC insulated 450/750 Volts grade stranded copper conductor cables in concealed 3/4" PVC conduit laid including PVC conduit,or Dura Duct including accessories, etc. complete in all respects. | No. | 4 |  | 0
WIRING ACCESSORIES
16 | 10 Amps, 250 Volts one way, six gang light control switches including appropriate size including heavy duty surface mounted pvc back box and face plate. | No. | 5 |  | 0
17 | 13 Amps Multi switch socket Duplex outlet including appropriate size including heavy duty surface mounted pvc back box and face plate. | No. | 16 |  | 0
18 | 20 Amps, 250 Volts double pole switch & neon indication lamp including appropriate heavy duty surface mounted pvc back box. | No. | 4 |  | 0
MISCELLANEOUS ITEMS
19 | Supply, installation, testing & commissioning of False Ceiling Fan 18″ 2×2 80 Watts. 99.99% Pure Copper Motor Operated with Remote Control.complete in all respect. | No. | 4 |  | 0
20 | 12 inches dia exhaust fan (ceiling type) including duct over ceiling complete in all respects. | No. | 4 |  | 0
PVC PIPES & DUCTS
21 | Supply and Installation of 10 x 25 mm PVC Dura duct | Rft | 400 |  | 0
STRUCTURED CABLING NETWORK
22 | P/F Wiring of CAT-6/Pure Copper/AWG23 LAN Cable, UTP Cable from Telecommunication RJ45 outlet point to relevant Floor distributor including appropriate size concealed or surface PVC conduit or PVC channel and all accessories with cutting/making holes in walls making surface good complete in all respect as per approval of Engineer | Rolls | 2 |  | 0
23 | P/F of Duplex Face plate with I/0s RJ-45 CAT-6 UTP telecommunication outlet including heavy duty surface mounted pvc back box and face plate including all mounting accessories of approved quality as per approval of Engineer | No. | 20 |  | 0
AIR CONDITIONING
24 | Supply Installation,testing & commisioning of following type reversible (heat & cool) Air conditioning units (Gree, Orient, or equivalent) complete with refrigerant piping , insulation ,condensate drain piping , Venture Cladding , fittings , insulation tape wraping, insulation,refrigerant charge thermostate ,control wiring between indoor and outdoor units , power wiring , conduiting , dura duct / channel mounting brackets and accessories complete in all respect asper site condition.
a) | Split Air- Conditioner 1.0 ton Inverter | Job | 2 |  | 0
25 | Supply & installation of Steel Grill Cover for Drain infront of server room | Sft | 35 |  | 0
| TOTAL AMOUNT - SERVER ROOM (Rs.) |  |  |  | 0
B. MOSQUE
PLAIN AND REINFORCED CONCRETE
26 | Providing and laying Concrete Class 'E' laid under floors and in plinth protections including toe. | Cft | 100 |  | 0
27 | Class 'C' Reinforced Cement Concrete (minimum mix 1:2:4) using ordinary Portland Cement in plinth beams. | Cft | 80 |  | 0
REINFORCEMENT
28 | Mild Steel Deformed round bars Grade 40. | Kg | 100 |  | 0
FLOOR & WALL FINISHES
29 | Providing and fixing porcelain tiles (of approved colour/shade/texture) upto 4 Sft. in size on floors laid in pattern, jointed in 1:3 cement sand mortar and grouted with white/coloured cement using imported pigments, including laser cutting, over and including 1:3 cement sand mortar base, complete at any floor at any height. | Sft | 228 |  | 0
FALSE CEILING
30 | Supply and Fixing accoustic mineral fibre tile ceiling fixed with approved GI adjustable suspension system, aluminium tee etc. at any floor at any height. | Sft | 228 |  | 0
STRUCTURAL STEEL WORKS
31 | Providing, installation and fixing in poition prefabricated offices composed of Fire-safe PIR sandwich panels (3" / 80mm thick) of 40Kg/m3 density with supporting system, fittings/fixing accessories, insulated single leaf door, aluminum windows with 6mm tempered glass as per design and drawings (9 No. offices, Covered Area to be measured for payment). (Note: The Contractor will provide shop drawigs and design calculations of the offered prefabricated office for approval of the Engineer before initiation of work at Site). | Sft | 888 |  | 0
Electrical Works:
LT CABLES
32 | 6 sqmm,3 core CU/PVC/PVC stranded copper conductor cable, 600/1000V grade in already installed conduit/on cable tray | Rft | 100 |  | 0
LIGHT FIXTURES
33 | 2' x 2', 40 watts LED Smart Panel with integrated driver and frosted glass diffuser | No. | 8 |  | 0
WIRING IN CONCEALED CONDUITS
34 | Wiring of light circuit from Distribution Board to switch, including circuit wiring between switches on the same circuit with Two nos. single core 2.5 Sqmm and One no.1.5 sq mm PVC insulated 300/500 Volts grade stranded copper conductor cablesin concealed 3/4" PVC conduit laid including PVC conduit,or Dura Duct including accessories, etc. complete in all respects. | No. | 1 |  | 0
35 | Wiring from switch to light or fan point with 3 Nos. single core 1.5 Sqmm PVC insulated 300/500 Volts grade stranded copper conductor cablesin concealed 3/4" PVC conduit laid including PVC conduit,or Dura Duct including accessories, etc. complete in all respects. | No. | 2 |  | 0
36 | Wiring of circuit from Distribution Board to 13/16 A , 230 Volts, 3 pin switched socket outlet with Two nos. single core 4 sqmm and One no. 2.5 sqmm PVC insulated 450/750 Volts grade stranded copper conductor cables in concealed 3/4" PVC conduit laid including PVC conduit,or Dura Duct including accessories, etc. complete in all respects. | No. | 2 |  | 0
37 | Wiring from 13 Amps, 3 pin socket to socket with Two nos. single core 2.5 Sqmm and One no. 1.5 sq mm PVC insulated 450/750 Volts grade stranded copper conductor cablesin concealed 3/4" PVC conduit laid including PVC conduit,or Dura Duct including accessories, etc. complete in all respects. | No. | 4 |  | 0
38 | Wiring of circuit from distribution board to 20A, 230 Volts, 3 Pin switched socket outlet with 2 Nos. one core 4 Sqmm and One no. 2.5 sq mm PVC insulated 450/750 Volts grade stranded copper conductor cables in concealed 3/4" PVC conduit laid including PVC conduit,or Dura Duct including accessories, etc. complete in all respects. | No. | 4 |  | 0
WIRING ACCESSORIES
39 | 10 Amps, 250 Volts one way, six gang light control switches including appropriate size including heavy duty surface mounted pvc back box and face plate. | No. | 2 |  | 0
40 | 13 Amps Multi switch socket Duplex outlet including appropriate size including heavy duty surface mounted pvc back box and face plate. | No. | 2 |  | 0
41 | 20 Amps, 250 Volts double pole switch & neon indication lamp including appropriate heavy duty surface mounted pvc back box. | No. | 2 |  | 0
MISCELLANEOUS ITEMS
42 | Supply, installation, testing & commissioning of False Ceiling Fan 18″ 2×2 80 Watts. 99.99% Pure Copper Motor Operated with Remote Control.complete in all respect. | No. | 4 |  | 0
43 | 12 inches dia exhaust fan (ceiling type) including duct over ceiling complete in all respects. | No. | 2 |  | 0
PVC PIPES & DUCTS
44 | Supply and Installation of 10 x 25 mm PVC Dura duct | Rft | 400 |  | 0
AIR CONDITIONING
45 | Supply Installation,testing & commisioning of following type reversible (heat & cool) Air conditioning units (Gree, Orient, or equivalent) complete with refrigerant piping , insulation ,condensate drain piping , Venture Cladding , fittings , insulation tape wraping, insulation,refrigerant charge thermostate ,control wiring between indoor and outdoor units , power wiring , conduiting , dura duct / channel mounting brackets and accessories complete in all respect asper site condition.
a) | Split Air- Conditioner 1.0 ton Inverter | Job | 1 |  | 0
46 | Supply & installation of Steel Grill Cover for Drain infront of pre fab offices | Sft | 35 |  | 0
| TOTAL AMOUNT - MOSQUE (Rs.) |  |  |  | 0
C.CANTEEN
PLAIN AND REINFORCED CONCRETE
47 | Providing and laying Concrete Class 'E' laid under floors and in plinth protections including toe. | Cft | 110 |  | 0
48 | Class 'C' Reinforced Cement Concrete (minimum mix 1:2:4) using ordinary Portland Cement in plinth beams. | Cft | 100 |  | 0
REINFORCEMENT
49 | Mild Steel Deformed round bars Grade 40. | Kg | 50 |  | 0
FLOOR & WALL FINISHES
50 | Providing and fixing porcelain tiles (of approved colour/shade/texture) upto 4 Sft. in size on floors laid in pattern, jointed in 1:3 cement sand mortar and grouted with white/coloured cement using imported pigments, including laser cutting, over and including 1:3 cement sand mortar base, complete at any floor at any height. | Sft | 90 |  | 0
FALSE CEILING
51 | Supply and Fixing accoustic mineral fibre tile ceiling fixed with approved GI adjustable suspension system, aluminium tee etc. at any floor at any height. | Sft | 90 |  | 0
STRUCTURAL STEEL WORKS
52 | Providing, installation and fixing in poition prefabricated offices composed of Fire-safe PIR sandwich panels (3" / 80mm thick) of 40Kg/m3 density with supporting system, fittings/fixing accessories, insulated single leaf door, aluminum windows with 6mm tempered glass as per design and drawings (9 No. offices, Covered Area to be measured for payment). (Note: The Contractor will provide shop drawigs and design calculations of the offered prefabricated office for approval of the Engineer before initiation of work at Site). | Sft | 520 |  | 0
53 | Fabricating a serving counter with movable door and 2 feet projected outwards counter | Job | 1 |  | 0
Electrical Works:
LT CABLES
54 | 6 sqmm,3 core CU/PVC/PVC stranded copper conductor cable, 600/1000V grade in already installed conduit/on cable tray | Rft | 100 |  | 0
LIGHT FIXTURES
55 | 2' x 2', 40 watts LED Smart Panel with integrated driver and frosted glass diffuser | No. | 2 |  | 0
WIRING IN CONCEALED CONDUITS
56 | Wiring of light circuit from Distribution Board to switch, including circuit wiring between switches on the same circuit with Two nos. single core 2.5 Sqmm and One no.1.5 sq mm PVC insulated 300/500 Volts grade stranded copper conductor cablesin concealed 3/4" PVC conduit laid including PVC conduit,or Dura Duct including accessories, etc. complete in all respects. | No. | 1 |  | 0
57 | Wiring from switch to light or fan point with 3 Nos. single core 1.5 Sqmm PVC insulated 300/500 Volts grade stranded copper conductor cablesin concealed 3/4" PVC conduit laid including PVC conduit,or Dura Duct including accessories, etc. complete in all respects. | No. | 1 |  | 0
58 | Wiring of circuit from Distribution Board to 13/16 A , 230 Volts, 3 pin switched socket outlet with Two nos. single core 4 sqmm and One no. 2.5 sqmm PVC insulated 450/750 Volts grade stranded copper conductor cables in concealed 3/4" PVC conduit laid including PVC conduit,or Dura Duct including accessories, etc. complete in all respects. | No. | 1 |  | 0
59 | Wiring from 13 Amps, 3 pin socket to socket with Two nos. single core 2.5 Sqmm and One no. 1.5 sq mm PVC insulated 450/750 Volts grade stranded copper conductor cablesin concealed 3/4" PVC conduit laid including PVC conduit,or Dura Duct including accessories, etc. complete in all respects. | No. | 1 |  | 0
60 | Wiring of circuit from distribution board to 20A, 230 Volts, 3 Pin switched socket outlet with 2 Nos. one core 4 Sqmm and One no. 2.5 sq mm PVC insulated 450/750 Volts grade stranded copper conductor cables in concealed 3/4" PVC conduit laid including PVC conduit,or Dura Duct including accessories, etc. complete in all respects. | No. | 1 |  | 0
WIRING ACCESSORIES
61 | 10 Amps, 250 Volts one way, six gang light control switches including appropriate size including heavy duty surface mounted pvc back box and face plate. | No. | 1 |  | 0
62 | 13 Amps Multi switch socket Duplex outlet including appropriate size including heavy duty surface mounted pvc back box and face plate. | No. | 2 |  | 0
63 | 20 Amps, 250 Volts double pole switch & neon indication lamp including appropriate heavy duty surface mounted pvc back box. | No. | 2 |  | 0
MISCELLANEOUS ITEMS
| Supply, installation and fixing of kitchen fixtures including Stove area, dish washing area with Tap & Shank, Upper and lower cabinets of approved quality with all the fixings and water/plumbng connections | Job | 1 |  | 0
64 | Supply, installation, testing & commissioning of False Ceiling Fan 18″ 2×2 80 Watts. 99.99% Pure Copper Motor Operated with Remote Control.complete in all respect. | No. | 1 |  | 0
65 | 12 inches dia exhaust fan (ceiling type) including duct over ceiling complete in all respects. | No. | 1 |  | 0
PVC PIPES & DUCTS
66 | Supply and Installation of 10 x 25 mm PVC Dura duct | Rft | 100 |  | 0
67 | Supply & installation of Steel Grill Cover for Drain infront of pre fab offices | Sft | 35 |  | 0
| TOTAL AMOUNT FOR CANTEEN (Rs.) |  |  |  | 0
GRAND TOTAL AMOUNT (Rs.) |  |  |  |  | 0