## Returnables
Returnables
Bidder Reference Name: |  | [enter Bidder reference Name]
Waterkloof House, Regional Bureau Pretoria, South Africa
Ref | Mandatory Requirements | Document/ Table
M1 | Return of all bid forms and required documents
M2 | Company/partnership profile including i. Brief history of the company/partnership members; ii. Structure of ownership/shareholding and details of parent company if the applicant is part of a group of companies; iii. Project company/ partnership structure and responsibility diagram; iv. Letter of Association (if bidding as a partnership) | [enter attached document name (s)]
M3 | Company registration documents with the Government of the country of origin | [enter attached document name (s)]
M4 | Proof that the parent company has been in business for a period of at least three (3) years prior to the closing date of this request for proposal | [enter attached document name (s)]
M5 | Proof of Order of Engineers and Architects (OEA) registration in Lebanon of the company/ engineer who will prepare the final design drawings if awarded | NA/ [enter attached document name (s)]
M6 | Duly completed Minimum Technical Requirements sheet including all necessary supporting documents | Please complete Sheet M6
M7 | Duly completed and signed UNHCR vendor registration form and associated supporting documents (if not already registered with UNHCR as a vendor) | Please complete Annex G
Ref | Technical Returnables | Document/ Table
T1 | Facility details | Please complete Sheet T1
T2 | Technical Design Report and Key Design Parameters Compliance Statement | Pease complete template document Annex E II. Technical Design Report - S&K
T3 | The report of the PV module shading and losses from the software used to analyze the losses (e.g., PVSyst, in-house software, etc) | [enter attached document name (s)]
T4 | Drawings | Please complete Sheet T4
T5 | Data sheets of the PV modules, system inverter or power conditioner, energy storage system, and metering concept | [enter attached document name (s)]
T6 | Detailed timeline of the project execution with risk analysis of the critical path, including but not limited to; key dates for completion of Conditions Precedent in the Lease agreement, start of construction, completion of construction, commissioning, and Commercial Operations Date. | [enter attached document name (s)] See guideline template in Sheet T6
T7 | Description of the Project Management, EPC Concept, O&M concept & proposed subcontractors if relevant | [enter attached document name (s)]
T8 | Technical Compliance | Please complete sheet T8
T9 | Bill of Quantities ("BOQ") | Please complete sheet T9

## M6 Minimum Tech
Returnable Schedule M6: Minimum Technical Requirements
Bidder Reference Name: | [enter Bidder reference Name]
Instructions
Please complete the table below with a maximum of two (2) reference projects demonstrating that the company/partnership, or at least one member of the partnership, has a proven track record in a solar PV project in combination with storage and diesel back-up in EPC and O&M. If a bidder does not have one project that meets all these criteria but can meet these criteria with a combination of multiple reference projects, this will be sufficient to qualify the bidder, provided that each project is a solar PV project in combination with storage and diesel back-up. For each reference project presented in this form, please list and attach to your submission all necessary supporting documents providing verifiable evidence of the said project’s current status, and of the nature of the company/partnership members’ involvement.
Project track record
No | 1 | 2
Project name
Technology
Solar PV capacity (kWp)**
Storage (yes/no)
Diesel hybrid/backup (yes/no)
Project demonstrates company/consortium members' capability (yes/no)
c. EPC capabilities
d. O&M capabilities
Main EPC/O&M contractor(s)
Main EPC/O&M sub-contractor(s)
Current O&M provider
Country
Location
Commissioned (yes/no)
Commissioning date*
Contract award date (if not under construction yet)
Client
Additional information (if required to detail project status or history e.g., roles and responsibilities, ownership, partnership, development, etc.)
List of supporting documents
*Envisaged if not commissioned yet
Yes
No

## Facility Summary
Facility Summary
Bidder Reference Name: | [enter Bidder reference Name]
Instructions
Bidders must enter their Proposal values in the Cells with grey fill colour
Project Site: | Waterkloof House, Regional Bureau Pretoria, South Africa
Description | Value
Project Site Name
PV Capacity (kWdc)
PV Inverter Capacity (kWac)
Battery Capacity (kWh)
Battery Inverter Capacity (kW)

## T1 Facility Details
Returnable Schedule T1: Technical Parameters
Bidder Reference Name: | [enter Bidder reference Name]
Instructions
Bidders must enter their Proposal values in the Cells with grey fill colour
The Technical Parameters shall be provided per Delivery Point Option.
Project Site: | Waterkloof House, Regional Bureau Pretoria, South Africa
Description | Value
General
Delivery Point
Installed Capacity (kWdc)
Installed Capacity (kWac)
DC/AC Ratio
Power Factor (Leading)
Power Factor (Lagging)
Installed Capacity (MVA)
Fault Level
PV Modules
PV Module Manufacturer
PV Module Technology
PV Module Rated Power (STC)
PV Module Count
PV Module Annual Degradation
PV module Performance Warranty
Temperature Coefficient of Pmax
Installed Capacity (kWp)
PV Inverters
Inverter Manufacturer
Inverter Model Number/ Description
Rated AC Capacity
Number of MPPT trackers
Inverter Efficiency
Inverter Count
Inverter Warranty
Installed Capacity (KW)
Battery inverter
Bidirectional Inverter (Yes/No)
Systems efficiency
Overall Max Power Output (@25ºC 30min, 5min, 3 sec)
Overall Power Output (@45ºC)
Cluster based architecture (Yes/No)
Nominal Power Output per Cluster
Mounting System
Mounting Arrangement
Mounting System Supplier
Mounting System Model
Mounting Material
Mounting System Count
Azimuth
Proposed anchoring Type
Tilt
Pitch
Collector Width
Limit profile angle
Ground Coverage Ratio
Battery installation
Battery Manufacturer
Battery Technology
Battery Rating (@C20)
Battery Bank nominal Voltage
Battery Count
Battery Expected life (cycles @80 DoD)
Battery Warranty
Installed Capacity (KWh)
Other (Please specifiy any othef important items )

## T4 Drawings
Returnable Schedule T4: Drawings
Bidder Reference Name: | [enter Bidder reference Name]
Instructions
Where the drawings differ between Delivery Point Options (e.g. single line diagrams), a drawing shall be submitted per Delivery Point. Where the drawings are the same irrespective of Delivery Point (e.g. GA of buildings), one drawing may be submitted for the entire Facility.
Project Site: | Waterkloof House, Regional Bureau Pretoria, South Africa
Description | Document Name (s)
Project Site layout plan | [enter attached document name (s)]
DC single line diagrams per Delivery Point Option | [enter attached document name (s)]
AC single line diagrams per Delivery Point Option, including Interconnection Facilities | [enter attached document name (s)]
Lightning protection strategy and diagram and earthing of the system | [enter attached document name (s)]
General arrangements of key equipment | [enter attached document name (s)]
Control and monitoring architecture diagram | [enter attached document name (s)]
Mounting structure general arrangements | [enter attached document name (s)]
Building layouts and general arrangements | [enter attached document name (s)]
Other (Please specifiy any other important items )

## T6 Detailed timeline
Returnable Schedule T6: Detailed Timeline
Bidder Reference Name: | [enter Bidder reference Name]
Instructions
Bidders must enter their Proposal values in the Cells with grey fill colour
The detailed timeline must include the key dates listed below. A template is provided as a guide to ensure all items are included but bidders may use their own template/ software to provide a timeline.
Project Site: | Waterkloof House, Regional Bureau Pretoria, South Africa
Key Dates | Included
Start of construction
Completion of construction
Commissioning
Commercial Operations Date
Risk analysis of the critical path items
Critical Path / Risk | Risk Description | Project(s) relevant to | Likeliness | Impact | Mitigation
EXAMPLE Template
ACTIVITY/ TASK | DEPENDENCIES | PLANNED DURATION [weeks] | PLANNED DUARTION [working days] | PLANNED START | PLANNED DUE DATE | W1 | …. | …. | ….
BID AWARD | [5 empty] | x
POST AWARD STAGE
…
…
…
ENGINEERING/ FINAL DESIGN
…
…
…
PROCUREMENT
…
…
…
SHIPPING
…
…
…
INSTALLATION
Start of Construction
…
…
…
Completion of construction
COMMISSIONING
…
…
…
O&M STARTING DATE

## T8 Technical compliance
Returnable Schedule T8: Technical compliance
Bidder Reference Name: |  | [enter Bidder reference Name]
Instructions
Bidders must enter their Proposal values in the Cells with grey fill colour
Project Site: |  | Waterkloof House, Regional Bureau Pretoria, South Africa
Section / chapter | Criteria | Confirm compliance or indicate deviations (if any) | Document name and page where information is provided
Section 1. | Key parameters of the new hybrid system
Are the system key parameters listed in table 1 in Annex B I. b) Technical Specifications respected?
Section 2. | Scope of Works
Is the Scope of Works fully understood and offered in technical and financial offer?
Section 3. | System Overview and introduction
Are all the hybrid renewabe energy system components considered in the technical and financial offer?
3.1 | PV power system layout
Does the proped PV power system respect the requirements in this Section?
3.2 | Design requirements
Are all the design requirements met?
Section 4. | Quality assurance
Is this condition fulfilled?
Section 5. | Reference Standards
Are the listed standards respected in the proposed system?
Section 6. | Power quality
6.1 | Voltage
Does the proposed system meet the voltage requirements?
6.2 | Frequency
Does the proposed system meet the frequency requirements?
Section 7. | Equipment and component specification
7.1 | Switchgear
Does the proposed system meet the switchgear requirements and standards?
7.2 | PV Modules
Does the proposed system meet the PV modules requirements and standards?
7.3 | PV support structure
Does the proposed system meet the PV support structure requirements?
7.4 | PV inverter
Does the proposed system meet the PV inverter requirements and standards?
7.5 | Battery inverters
Does the proposed system meet the battery inverters requirements and standards?
7.6 | Wiring standard
Does the proposed system meet the wiring standards requirements?
7.7 | Earthing, Equipotential Bonding, and Lightning Protection
7.7.1 | System Type
Does the proposed system align with the system type requirement?
7.7.2 | Earthing
Does the proposed system meet the earthing requirements and standards?
7.7.3 | External lightning protection
Does the proposed system meet the external lightning protection requirements and standards?
7.7.4 | Surge protection
Does the proposed system meet the surge protection requirements and standards?
7.8 | Weather station
Does the proposed system include a weather station as required?
7.9 | Battery Storage System
Does the proposed system meet the battery storage system requirements and standards?
7.10 | Control and monitoring system
Does the proposed system meet the control and monitoring system requirements and standards?
7.11 | Metering system
Does the proposed system meet the metering system requirements?
Section 8. | Civil works and security
8.1 | Technical room
Does the technical room fulfil all the requirements?
Section 9. | Commisioning
After installation of the hybrid system will the commissiong descrived procedure be respected
Section 10. | Spare parts and O&M materials
Does the technical and financial offer include the items described in this section?
Section 11. | O&M
11.1 | General description
Does the proposed O&M service fulfill and respond to the level and type of assistance required?
11.2 | Allowed interruptions
Does the O&M service provider understand and accept the described allowed interruptions?
11.3 | Liabilities and responsabilities
Does the O&M service provider understand and accept the described liabilities and responsabilities?
11.4 | O&M
Does the O&M service provider understand and accept to perform the required tasks?
11.5 | O&M reporting
Will the O&M service provider perform the requested reporting?
Section 12. | Training
Will the system supplier and O&M service provider perform a training to UNHCR staff as requested?
Section 13. | Health and Safety Requirements
Will the contractor follow the applicable health and safety codes?
Section 14. | Documentation
Does the technical and financial offer include all the required documentation?

## T9 Bill of Quantities
Returnable Schedule T9: Bill of Quantities
Bidder Reference Name: |  | [enter Bidder reference Name]
Instructions
Bidders must enter their Proposal values in the Cells with grey fill colour
DO NOT INCLUDE PRICE DETAILS IN THIS SHEET
Item | Item Description | Unit | Waterkloof House, Regional Bureau Pretoria, South Africa
Item |  |  | Qty | capacity/unit | Total capacity
Power System Items
1 | PV modules inlcuding DC-PV cabling | [kW] |  |  | 0 | 0
2 | PV support structure inlcuding all necessary components installation | m2 |  |  | 0 | 0
3 | PV inverters including cabling, protections and supporting/fixation | [kW] |  |  | 0 | 0
4 | Battery inverter incl cabling, protections and supporting structure/fixation | [kW] |  |  | 0 | 0
5 | Battery Storage System, including cabling, BMS and supporting structure/racking | [kWh] |  |  | 0 | 0
6 | Electric boards, including switchgear and protection | Units |  |  | 0 | 0
7 | Technical room, including all the requirements described in Annex B, II. Technical Specifications | Units |  |  | 0 | 0
8 | Conduits and trenching | m |  |  | 0 | 0
9 | Earthing system | Unit |  |  | 0 | 0
10 | External lightning protection system | Unit |  |  | 0 | 0
11 | Control and monitoring system, including weather sensors, diesel generator fuel and power sensors and power meters | Unit |  |  | 0 | 0
12 | 250kVA diesel generator | Unit |  |  | 0
13 | Devices needed to integrate and synchronize the new generator into the system | Unit |  |  | 0
14 | Devices needed to integrate and synchronize the existing generator(s) into the system |  |  |  | 0
15 | Devices needed to connect the system to the existing electrical infrastructure | Unit |  |  | 0 | 0
16 | Manual override system bypass (to connect UNHCR facility to the old generators) | Unit |  |  | 0 | 0
17 | Spare parts, including spare parts container | Unit |  |  | 0 | 0
18 | O&M required materials to perform O&M obligations | Unit |  |  | 0 | 0
Related Services
19 | Engineering and project development |  |  |  | 0 | 0
20 | Shipping and logistings |  |  |  | 0 | 0
21 | Custom Clearance |  |  |  | 0 | 0
22 | Power system installation services |  |  |  | 0 | 0
23 | Annual O&M service fee |  |  |  | 0 | 0
Other (Please specifiy any other important items )
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
Note on G9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 [Tasks] There is a task anchored to this comment that cannot be viewed in your client. Comment: @Wangeci Wanyahoro does this relate to comments /additional information?