SCOPE OF WORK

The UNHCR Peaceful Coexistence Project: Repair of premises and performance of ramp for the inclusive education of children with disability in School # in Toretsk city, Donetsk region

- Nature of Service

UNHCR seeks to hire a contractor for the repair works and construction of a ramp with separate Entry/Exit for the children with disability as specified in the BoQ. UNHCR will be engaged in repairing premises in school # 9  in Toretsk city, Donetsk region.

- The work includes

The premises need repair works, re-purposing works, and ramp construction with a new Entry/exit for children with disabilities.

UNHCR will repair the floor, ceiling, walls, heating system, electrical works, windows, doors, erect partitions, and a new ramp with separate entry/exit for the inclusive education under this RFQ.

The details of the intervention with technical specifications are described in Annex F

Where relevant, the expected execution time is mentioned in Annex F.

A Obligations of UNHCR:

- UNHCR will provide access for the contractor and its workforce to sites in an organized manner and based on pre-approval.

- UNHCR will supervise the performance of all work under this RFQ; cleaning works, the repair works according to locally accepted standards, as well as acceptance/rejection of the completed works will solely depend on compliance with the technical specifications.

3.	Upon satisfactory completion, UNHCR will pay the contractor the amounts due based on the agreed work-plan, work orders, and the quantities executed according to BoQ in 3 stages.

B Obligations of the Contractor:

1.	The contractor will only be paid based on the quantity and quality of repair executed corresponding unit rates as agreed.

2.	All repair works shall comply with Ukraine regulations and standards, coordinate with the relevant authorities, and commission the project is the contractor's responsibility.

3.	The contractor shall include all necessary equipment, materials, and work practices in order to comply with these standards and regulations, even where not precisely specified in this outline specification.

4.	The contractor shall be responsible for the insurance of works/workers & responsible for repairing and/or replacing anything damaged by the contractor or their sub-contractors within site.

5. All structural and technical issues that appear during the repair, as well as the use of materials, should be agreed upon with UNHCR technical staff in advance.

C. Important note :

The contractor should be ready to begin the works by the day specified by UNHCR (within 48 hours notice). The construction should be finished as agree with the technical focal point. Works will be monitored by the technical staff from UNHCR FU in Sloviansk.

The work progress certificate will be issued by the end of each stage as agreed in advance with the contractor based on work-plan, and work order.

UNHCR will issue the Completion certificate at the end of the works and after technical inspections.

D. Payment :

Payments shall be made in 3 installments; 40-40-20%, and should be linked to the work plan.

The payments will be made only on satisfactory work delivery based on progress after submitting an Invoice, which certifies by the UNHCR technical focal point. Payment shall be made within five working days from the day of receipt of the Invoices.