## Sheet1
Repair of premises of the former village council in Nyzhnia Vilkhova village
# | Premise | Type of work | Scope of works | UoM | Q-ty | Cost, UAH, less VAT
1 | Hallway | Ceiling | Manually cleaning the inner surfaces of the ceilings from lime paint | m2 | 29.7
|  |  | Sand-free covering of surfaces of ceilings with a solution from glue plaster of satengips type with a layer thickness of 1 mm | m2 | 29.7
|  |  | Improved oil painting of ceilings on prefabricated structures prepared for painting | m | 29.7
|  | Walls | Finishing the walls with laminated PVC panels up to 400 mm wide, min. thickness 8mm. | m2 | 6.6
|  |  | Better painting of walls with polyvinyl acetate water-emulsion mixtures prepared for dyeing | m2 | 53.45
2 | Elderman's room | Floor | Setting of a covering from wood-fiber plates OSB 2500*1250*10mm in one layer | m2 | 41
|  |  | Setting of a linoleum flooring with semi-commercial linoleum adequate to 32 class of wear resistance (or higher) and min. 0.4mm thick protective layer | m2 | 41
|  |  | Setting of a doorstep | m | 2.3
|  |  | Setting of PVC plinths with screw fixing | m | 23.6
|  | Ceiling | Improved oil painting of ceilings on prefabricated structures prepared for painting | m2 | 41
3 | Room #1 | Floor | Disassembly of linoleum and relin floor coverings | m2 | 20.6
|  |  | Disassembly of wooden plinths | m | 17.4
|  |  | Setting of a covering from wood-fiber plates OSB 2500*1250*10mm in one layer | m2 | 20.6
|  |  | Setting of a linoleum flooring with semi-commercial linoleum adequate to 32 class of wear resistance (or higher) and min. 0.4mm thick protective layer | m2 | 20.6
|  |  | Setting of a doorstep | m | 2.7
|  |  | Setting of PVC plinths with screw fixing | m | 17.4
4 | Room #2 | Floors | Disassembly of linoleum and relin floor coverings | m2 | 16.22
|  |  | Disassembly of cement plinths | m | 15.7
|  |  | Setting of a covering from wood-fiber plates in one layer | m2 | 16.22
|  |  | Setting of a linoleum flooring with semi-commercial linoleum adequate to 32 class of wear resistance (or higher) and min. 0.4mm thick protective layer | m2 | 16.22
|  |  | Setting of a doorstep | m | 0.9
|  |  | Setting of PVC plinths with screw fixing | m | 15.7
|  | Ceiling | Manually cleaning the inner surfaces of the ceilings from lime paint | m2 | 16.22
|  |  | Sand-free covering of surfaces of ceilings with a solution from glue plaster of satengips type with a layer thickness of 1 mm | m2 | 16.22
|  |  | Better painting of walls with polyvinyl acetate water-emulsion mixtures prepared for dyeing | m2 | 16.22
|  | Walls | Removal of wallpapers | m2 | 47.6
|  |  | Puttying of the wall | m2 | 5
|  |  | Priming of the wall | m2 | 47.6
|  |  | Application of wallpapers of medium density | m2 | 47.6
|  |  | Improved painting of walls with polyvinyl acetate water-emulsion mixtures prepared for painting | m2 | 47.6
5 | Room #3 | Floors | Setting of a covering from wood-fiber plates in one layer 2500*1250*10mm | m2 | 19.05
|  |  | Setting of a linoleum flooring with semi-commercial linoleum adequate to 32 class of wear resistance (or higher) and min. 0.4mm thick protective layer | m2 | 19.05
|  |  | Setting of a doorstep | m | 1.8
|  |  | Setting of PVC plinths with screw fixing | m | 16.6
|  | Ceiling | Manually cleaning the inner surfaces of the ceilings from lime paint | m2 | 19.05
|  |  | Sand-free covering of surfaces of ceilings with a solution from glue plaster of satengips type with a layer thickness of 1 mm | m2 | 19.05
|  |  | Better painting of walls with polyvinyl acetate water-emulsion mixtures prepared for dyeing | m2 | 19.05
|  | Walls | Removal of wallpapers | m2 | 49.72
|  |  | Puttying of the wall | m2 | 5
|  |  | Priming of the wall | m2 | 49.72
|  |  | Application of wallpapers of medium density | m2 | 49.72
|  |  | Improved painting of walls with polyvinyl acetate water-emulsion mixtures prepared for painting | m2 | 49.72
7 | Electrical works |  | Dismantling of the open-type electrical wiring | m | 10
|  |  | Dismantling of the lighting fixtures with incandescent lamp | pcs | 12
|  |  | Installation of input-distribution devices, electrical cabinet | pcs | 1
|  |  | Installation of switches, batch switches of 2 and 3 pole on current to 100 A | pcs | 2
|  |  | Laying of a cable with a section up to 2.5 mm2 in the cable duct | m | 100
|  |  | Laying of a cable with a section up to 1.5 mm2 in the cable duct | m | 72
|  |  | Installation of overhead LED lamps | pcs | 12
|  |  | Installation of plug sockets with open wiring | pcs | 6
|  |  | Installation of switches with open wiring | pcs | 5
8 | Doors |  | Dismantling of door boxes in stone walls with removal of plaster in slopes | pcs | 5
|  |  | Removal of doors | m2 | 9.5
|  |  | Filling of door openings with prefabricated metal-plastic door blocks in stone wall (1200х2250mm-1pcs) | m2 | 2.7
|  |  | Filling of doorways with the laminated door blocks with use of anchors and mounting foam (900*2000mm) | block | 5
9 | Entrance ramp |  | Production of rectilinear and curvilinear ladders with a fence | t | 0.495
|  |  | Priming of metal surfaces | m2 | 18.73
|  |  | Painting of metal primed surfaces with enamel | m2 | 18.73
10 | Rubbish take away |  | Rubbish take away | serv | 1
|  | Warranty: | 12 months
|  | Location: | Nyzhnya Vilkhova CMA – Nyzhnya Vilkhova, Rizdvyana str., 52
|  | Execution term: | 30 calendar days | Total, less VAT: |  | 0
|  | Compliance | yes/no | VAT: |  | 0
|  | If "no" | proposed execution term | Total, w. VAT: |  | 0
Tenderer name
Name and occupation of the representative
Date
Signature and stamp